## Sheet1
Column1 | Document | ID | Topic | Date
0 | © 2022 Shoaib Kamal et al.As a result of their natural capacity to recover harmonic current and reactive power from alternating current sources, power electronic devices utilized in conjunction with nonlinear loads have the potential to generate significant harmonic problems within the power system when employed in this way. When this occurs, voltage instability occurs, which must be avoided in order to maintain the consistency and dependability of the power system's power flow. With this approach, the series controller has been replaced by a multilevel modular controller in order to improve power handling capability and achieve higher modular levels with minimal distortions. The shunt compensator is the most effective way to achieve an extremely protected energy system as well as righteous steadiness in electric potential difference under a variety of load constraints. The DQ thesis is employed in this proposed converter to separate the harmonic components by establishing reference frame current, which is accomplished by machine learning techniques. As part of the constant mode operation, the PI controller contributes to maintaining the direct current-potential difference, which is given to the PWM generator. Optimization of the values of K p and K i is accomplished by the use of particle swarm optimization (PSO). The construction of this power system simulation model has been made feasible by the use of time-fluctuating characteristics modeling and the MATLAB programming environment. The new (unified power flow controller) UPFC research that has been made available is persuasive in its capacity to reduce distortions and watt-less power components while simultaneously enhancing efficiency and reducing costs. | 0 | 3 | 2022
1 | This paper investigates the opportunity for energy saving in a three-phase induction motor (IM) driving pump load and proposes an improved loss model control (LMC). Compared with other power-loss reduction algorithms for IM, the presented one has the advantages of fast and smooth flux adaptation, high accuracy, and versatile implementation. The performance of LMC depends mainly on the accuracy of modeling the motor drive and losses. In this paper, the derived loss model considers the surplus power loss caused by inverter voltage harmonics using closed-form equations and also includes the magnetic saturation. An artificial neural network controller is synthesized and trained offline to determine the optimal flux level that achieves maximum drive efficiency. The drives voltage and speed control loops are connected via the actual stator frequency, making the scheme comparatively reliable. Simulation and experimental studies are performed on 5.5-kW test motor using the proposed control method. The test results are provided and compared with the fixed flux operation to validate the effectiveness. © 2006 IEEE. | 1 | 1 | 2010
2 | © 2016 IEEE.This paper proposes a solution to voltage rise and/or sag in single-phase unbalanced distribution systems using photovoltaic (PV) arrays with reactive power capability. The PV is controlled to inject maximum power using Maximum Power Point Tracker (MPPT) to supply local loads when the solar power is available. The reactive power capability of the PV inverters regulates the bus voltages in transient conditions due to irradiance variations or load changes to be within standard limits. A combined control algorithm of dq-current control with hysteresis current control (HCC) capability regulates the inverter current at different power factors according to the voltage value. The inverter reactive power supplied/consumed to/from the grid is calculated using fuzzy logic control (FLC) function. The control algorithm dq/FLC/HCC is tested with a 10-node unbalanced distribution system under various case-studies of solar irradiance variations and step-change of system loads. The obtained results clearly justify the proposed control in maintaining the bus voltages within standard limits in both transient and steady-state conditions. | 2 | 3 | 2015
3 | © 2022 The Author(s)Traditional on-load tap changer (OLTC) has problems such as easy oscillation and low regulation precision in the voltage regulation control of the power system. In order to seek a speedy and stable voltage control strategy, a flexible on-load voltage regulator is studied in this paper. A stepless energy take-off winding is set on the high-voltage side to connect the back-to-back converter, and the winding side of the converter is used to realize reactive power compensation. The grid side of the converter can realize continuous voltage regulation. A coordinated voltage regulation control strategy between flexible on-load voltage regulator and static synchronous compensator (STATCOM) is proposed. The tap positions of the flexible on-load voltage regulator and the reactive power sent by the STATCOM are used as reference signals to ensure sufficient capacity of the compensator and reduce the number of tap actions. The strategy proposed in this paper is compared with the voltage regulation method based on the traditional voltage regulation devices, the effectiveness of the strategy is demonstrated by some simulations based on Matlab/Simulink. | 3 | 0 | 2022
4 | © 2018It is obvious that power quality is an important characteristic of today's distribution power systems as loads become more sensitive on the other hand nonlinear loads are increasing in the electrical distribution system. Considering the distributed nature of harmonic loads, the need for distributed power quality improvement (PQI) is inevitable. From years ago, researchers have been working on various kinds of filters and devices to enhance the overall power quality of power system, but today the nature of distribution system has been changed and power electronic based DGs play an important role in distribution grids. In this paper, a thorough survey is done on power quality enhancement devices with emphasis on ancillary services of multi-functional DGs. A literature review is also done on microgrids concept, testbeds and related control methods. Although there were some applications of DGs for PQI improvement these applications were not defined multi-functional DGs. Various control methods are studied and categorized regarding different viewpoints in the literature. Finally, a couple of thorough comparisons are done between the available techniques considering the nature, capabilities, advantages and implementation costs. | 4 | 3 | 2018
5 | © 2020 IEEE.The unique advantages of modular multilevel converters (MMCs) have led to wide adoption of the converter topology in high voltage dc (HVDC) transmission systems, with great potential for use in medium voltage motor drive and dc grid applications. Inspired by the structure of the MMC, many extended converter topologies have been developed in the literature. These include, in addition to conventional parallel multiphase connection, a variety of series-connected topologies. Extended MMCs integrate the modular nature of cascaded SMs of the MMC but with different topology structure leading to substantially different operating principles. Given the growing number of such topologies, this paper provides a critical review of MMC derived topologies and summarizes individual advantages and disadvantages. The control schemes and application fields of these different topologies are analysed. This review facilitates the classification and understanding of extended MMCs and provides the necessary scaffold for the development of a general framework for new topologies and applications based on the MMC. | 5 | 3 | 2022
6 | © 2020 Walter de Gruyter GmbH, Berlin/Boston 2020.In this paper, the status quo, analytical methods, and treatment technologies of steady-state power quality problem with the largest influential degree and range are reviewed. Typical harmonic sources in regional power grids and their characteristics are investigated, the influence of harmonics on a regional power grid is described, and the main harmonic control measures including active and passive types are introduced. The sources, status quo, and adverse effect of the three-phase imbalance problem of regional power grids are examined. Meanwhile, relevant standards and imbalance calculation methods are introduced. The operation measures and treatment equipment for solving the three-phase imbalance problem are also presented. The status quo, mechanism, and danger of low voltage (LV) in regional grids are analyzed as well as the LV monitoring methods, and the corresponding treatment technologies are summarized. Finally, the key to treating the steady-state power quality of regional power grids is proposed. | 6 | 2 | 2020
7 | © 2023, The Author(s), under exclusive license to Springer Nature Switzerland AG.To enhance the robustness and disturbance rejection ability of an on-line uninterruptible power supply (UPS) system, an internal model control (IMC)-based DC-link voltage regulation method is proposed in this chapter. Furthermore, the multi-mode operations of the on-line UPS system are investigated, and their corresponding control strategies are proposed. The proposed control strategies are capable of achieving the seamless transition in traditional normal mode, PV-aided normal mode, enhanced eco-mode, and burn-in test mode. Meanwhile, the uninterruptible load voltage is promised during the mode transition. The small-signal analysis is also conducted to investigate the stability of enhanced eco-mode and burn-in test mode. Finally, extensive experimental results are provided to validate the effectiveness of the proposed methods. | 7 | 3 | 2019
8 | © 2022, The Author(s), under exclusive licence to Springer Nature Singapore Pte Ltd.The rising incidence of equipment mal-operations and failures due to inadequate reactive power compensation facilities at power distribution centers is an increasing concern everywhere. The distribution static compensator (DSTATCOM) is the best solution for this issue. However, they can be very costly and complex to use. In this case study, the static var compensator (SVC) is used in a thyristor binary switched capacitors (TBSC)-thyristor-controlled reactor (TCR) configuration. The TCR in SVC, while correcting, produce harmonics intrinsically due to non-sinusoidal currents. The purpose of this study is to investigate the connection between unbalanced load with poor reactive power management and harmonic mitigation facility in a power distribution network. The optimal size reactor and the binary sequence of the capacitor banks are considered. The artificial neural network (ANN) approach is used to solve a nonlinear problem and calculate the optimal firing delay angle used to switch thyristors in TCR with accurate delay to reduce harmonic distortion significantly. The proposed strategy is appealing and can be used for the steady-state reactive power allocation in SVC applications in distribution networks. | 8 | 0 | 2022
9 | © 2022 by the authors.The shift of the world in the past two decades towards renewable energy (RES), due to the continuously decreasing fossil fuel reserves and their bad impact on the environment, has attracted researchers all around the world to improve the efficiency of RES and eliminate problems that arise at the point of common coupling (PCC). Harmonics and un-balance in 3-phase voltages because of dynamic and nonlinear loads cause a lagging power factor due to inductive load, active power losses, and instability at the point of common coupling. This also happens due to a lack of system inertia in micro-grids. Passive filters are used to eliminate harmonics at both the electrical converter’s input and output sides and improve the system’s power factor. A Synchronous Reference Frame (SRF) control method is used to overcome the problem related to grid synchronization. The sine pulse width modulation (SPWM) technique provides gating signals to the switches of the multilevel inverter. A multi-layer feed forward neural network (ML-FFNN) is employed at the output of a system to minimize mean square error (MSE) by removing the errors between target voltages and reference voltages produced at the output of a trained model. Simulations were performed using MATLAB Simulink to highlight the significance of the proposed research study. The simulation results show that our proposed intelligent control scheme used for the suppression of harmonics compensated for reactive power more effectively than the SRF-based control methods. The simulation-based results confirm that the proposed ML-FFNN-based harmonic and reactive power control technique performs (Formula presented.) better in terms of MAE, (Formula presented.) for the case of MSE, and (Formula presented.) when evaluating based on the RMSE. | 9 | 1 | 2022
10 | © 2022 John Wiley & Sons Ltd.This article proposes a Hermite function-based artificial neural network (HeANN) controller for shunt compensation in photovoltaic (PV) interfaced grid system. Various power quality (PQ) issues such as load change, poor power factor, reactive power demand and current harmonics are experienced by (Formula presented.) distribution system. The proposed HeANN algorithm is utilized to improve the PQ issues of the distribution system. Shunt active power filter (SAPF) is operated in current control mode and injects the compensating current at the point of common coupling (PCC). The inverter is connected with the green energy resource, that is, PV at its direct current terminals and contributes its power to fulfil the load active power demand. The parameters of HeANN are trained in real time. A prototype hardware of SAPF is developed using sensor circuits and space 1104. The simulation results are validated by experimental results. The comparative analysis of the results establishes the superiority of the proposed control technique to other control techniques such as synchronous reference frame, second order generalized integrator and back propagation neural network in terms of convergence, computational burden and total harmonic distortion of grid current. | 10 | 3 | 2023
11 | © 2022 - IOS Press. All rights reserved.To increase the life and efficiency of power electronics equipment in a utility distribution system, the power quality improvement is essential part. In this work, to improve power quality by using Robust Resilient Back Propagation Neural Network (RBPNN) scheme for a Photovoltaic (PV)-Integrated Unified Power Quality Conditioner (UPQC) with cascaded multi-level inverter configurations are described. Among the proposed methods, there is no need to use a transformer and filter when multilevel UPQC is applied, and it is one of the great advantages. The proposed UQPC offers a PV array composition with a power converter connected to a DC-link capacitor that can compensate for voltage sag, swell, voltage interruption, harmonics and reactive power. The Robust Resilient Back Propagation Neural Network controller is generate gating pulses to the UPQC. The reference currents and voltages for the controller are estimated using Synchronous Reference Frame (SRF) theory. The proposed cascaded multi-level inverter-based UPQC is designed using Matlab/Simulink Software. The simulation results confirm that the proposed method gives good results compared with existing Adaptive neural Fuzzy Inference System (ANFIS) and fuzzy logic methods. A real-time hardware system is also established to validate the simulation results. The effectiveness of the proposed system RBPN-UPQC approach is compared for both simulation and experimental results gives better low THD level 1.22%. | 11 | 3 | 2022
12 | © 2022 IEEE.In this paper, a strategy for controlling the DC link voltage of a PV and battery integrated UPQC is presented. With the integration of Battery Energy Storage (BESS) in the system, the PV array is always able to feed constant power into the grid. Due to the increased penetration of non linear loads in distribution system, it becomes vital to improve the power quality of the distribution system as well. The Unified Power Quality Conditioner (UPQC) can act to mitigate the power quality issues, as well as act as an inverter to feed the grid and load. The control of the UPQC is such that it can detect and isolate the system during grid faults; the battery enables smooth standalone operation. However, during resynchronization after grid fault, there is deviation in DC link voltage due to transients, which will affect the load voltage profile as well. Hence, an Adaptive Neuro Fuzzy Inference System (ANFIS) based controller replaces the traditional PI Controller and the performance comparison is done. The results are simulated and analysed using MATLAB/SIMULINK Software. | 12 | 3 | 2022
13 | © 2013 IEEE.Emerging trends and advances in techniques in power electronics, Unified Power Quality Conditioner (UPQC) has a superior performance compared to other methods. The paper proposes the application of a ANN based UPQC to enhance the power quality of a three-phase Low-voltage network connected to a hybrid distribution generation (DG) system. The proposed work emphases the detailed performance analysis of a distributed generation system that integrates a solar PV and wind energy system by utilizing Unified Power Quality Conditioner (UPQC) with an artificial neural network (ANN) controller with respect to proportional-integral (PI) controller. The core objective of the proposed ANN is to offer good steady and dynamic state performance compared to the PID controller. The system called UPQC-ANN-RE feeds energy generated by a photovoltaic array and a wind turbine into the electrical grid and loads attached to a system of 3-phase 4-wire electrical distribution. In addition to inserting active/real power in the utility grid, the system of UPQC-ANN-RE functions as a UPQC, improving power quality signs e.g., voltage and current harmonics and power factor. A detailed analysis of the active-real power flow by converters is carried out to allow a good understanding of the operation of the UPQC-ANN-RE. The simulation outcomes are presented to assess the dynamic and steady state performance of the system of UPQC-ANN-RE connected to an electrical distribution system and to compare the consequences with the PI controller. | 13 | 3 | 2022
14 | © 2022 IEEE.This paper compares back propagation and particle swarm optimization (PSO) in neural network parameter tuning for power quality improvement in distribution grid connected systems. A non-linear load is connected to the distribution system that injects harmonic currents into the grid side. Neural networks are trained using PSO and Backpropagation. Each neural network is then used in a STATCOM controller that is used for power factor correction, reactive power compensation, power balancing, etc. The algorithms are then compared on various aspects, including harmonic content in the resulting signal, weight convergence, settling time, rise time, and deviation of DC link voltage from a constant value. The model is also tested for dynamic loading by applying additional load to the power system. MATLAB 2018a is used to train and test the artificial neural networks for power quality improvement in grid connected systems. | 14 | 2 | 2022
15 | © 2022 IEEE.The existing control systems for compensating installations do not take into account the general state of the power grid in terms of reactive power flows. The article proposes the monitoring system that processes data from a current and voltage sensor in a distribution grid, based on the processed data control actions are formed on corrective devices. Today high-speed static VAR compensators (SVC), built on the principle of indirect compensation, are most widely used. However, such compensators have a number of disadvantages, therefore, to improve the energy efficiency of the monitoring system, it is advisable to use SVC based on magnetic valve elements. To predict reactive power in the distribution grid, the artificial neural networks (ANN) module is used in the monitoring structure. To train the neural network, using the method of combined matrices, a distribution grid model is formed.The proposed monitoring system will make it possible to stabilize the parameters of the grid for consumers, to reduce losses from reactive power flows. The neural network module included in the main processor will reduce the development of emergency situations. The use of SVC based on magnetic valve elements will increase the energy efficiency of the monitoring system in distribution grids with a sharply variable nature of electricity consumption. | 15 | 0 | 2022
16 | © 2013 IEEE.Shunt Active Power Filter (SAPF) is widely used for harmonics and reactive power compensation. However, in addition to the harmonics, harmonic resonance also exists in the network, which is prominent in configurations where both SAPF and capacitor bank are present in the distribution network. Resonance is mainly caused due to interaction between line impedances, capacitor banks and modern electronic equipment with capacitive behaviour. Harmonic resonance leads to an increase in harmonic level around the resonance frequency, which further increases the overall THD of the distribution system. As there can be multiple resonance scenarios which may also vary depending on internal switching of capacitor devices, it is difficult for conventional SAPF to address both harmonic resonance and current harmonics. Therefore, to improve the overall power quality, it is important to first identify/detect and then selectively damp the detected harmonic resonance in the distribution network. Detection of resonance with SAPF commonly require external signal injection, additional circuitry and sensors. This paper deals with non-invasive machine learning (ML)-based resonance detection, which only requires voltage harmonics at the point of common coupling (PCC) as input. Hence, it eliminates the need for any modification in existing control strategy, external signal injection and additional sensors. Also, Resonance detection, resonance damping and harmonic compensation is achieved by utilising only two types of sensors i.e., voltage at PCC and load current. | 16 | 1 | 2022
17 | © 2022 IEEE.Advanced controllers for harmonic suppression alongside unified power quality conditioner (UPQC) for the power distribution network is proposed in this research. Adaptive neural network based model predictive control (ANNMPC) design is the auxiliary unit to enhance the power quality using UPQC. The unit is composed of shunt and series active filters to ensure the better quality of power across the power system. Supply current and the source potential is normalized by controller despite the subsistence impact of harmonic agents owing to the sag and swell phenomena and issues associated with the inductive loads and thereby power factor. State space model is developed for the power quality conditioner that assists ANNMPC for the optimal power flow in the distribution system. The optimal control strategy accounts to sustain the constant DC link voltage and regulates the switching pulses as well. The recital of the UPQC is extensively advanced with the proposed ANNMPC respectively. Ideology of this ace research decreases the stress over the power conditioners and predictive controllers. Real time simulations are carried out through the MATLAB/SIMULINK platform to corroborate the validity of the proposal. Model is subjected to operate under various circuit conditions and the results are compared to show the genuineness. | 17 | 3 | 2022
18 | © 2022 Polish Academy of Sciences. All rights reserved.The electrical grid integration takes great attention because of the increasing population in the nonlinear load connected to the power distribution system. This manuscript deals with the power quality issues and mitigations associated with the electrical grid. The proposed single comprehensive artificial neural network (SCANN) controller with unified power quality conditioner (UPQC) is modelled in MATLAB Simulink environment. It provides series and shunt compensation that helps mitigate voltage and current distortion at the end of the distribution system. Initially, four proportional integral (PI) controllers are used to control the UPQC. Later the trained SCANN controller replaces four PI Controllers for better control action. PI and SCANN controllers' simulation results are compared to find the optimal solutions. A prototype model of SCANN controller is constructed and tested. The test results show that the SCANN based UPQC maintains grid voltage and current magnitude within permissible limits under fluctuating conditions. | 18 | 3 | 2022
19 | © 2022 IETE.This paper presents the design and implementation of three-phase four-wire shunt active power filter (SAPF). It consists of insulated gate bipolar transistors, IGBT based current-controlled voltage source inverter (CC-VSI), series coupling inductor and self-supported DC bus. Power electronics based converters and non-linear loads generate waveform-driven power quality issue as harmonics. Three-phase four-wire SAPF mitigates harmonics, compensates for reactive power, neutral current and power factor correction. Conventionally, the positive sequence detection control strategy using phase-locked loop (PLL) is applied as the synchronizing unit vector element to generate reference source currents. Conventional controller tuning process is difficult and fails to perform satisfactorily under supply voltage variation conditions. In this paper, Levenberg-Marquardt back propagation training algorithm based artificial neural network (ANN) controller is proposed to regulate DC link voltage due to its self-adapting and rapid calculation characteristics that allow the controller to handle high nonlinearity and uncertainty in a non-linear system. Weights of a neuron are adapted to minimize total harmonic distortion (THD) of source current under the step, ramp, time series amplitude variation and frequency and amplitude of modulation conditions. The proposed system is modelled in MATLAB/SIMULINK environment and laboratory prototype with dSpace1104 control card is developed. Experimentation results validate the simulated results of the proposed scheme under supply voltage variations for three-phase four-wire distribution system. | 19 | 1 | 2022
20 | Copyright © 2022 Selvakumar, Palanisamy, Kannan, Selvarajan, Selim, Kotb, Bajaj and Kamel.In this article, a seven-level triple-time voltage-boosting topology (8S7L-TTB) is proposed, which has eight switches as the minimum. This topology is used as DSTATCOM to eliminate power-quality issues. In a three-phase four-wire distribution system, specific unpredictable issues have emerged through the increase of unbalanced linear and non-linear loads, which has caused various drawbacks such as voltage imbalance, poor voltage regulation, increased reactive components, and harmonics generation, through which the life period of the system has been minimized, undesirable heating has been produced, and the RMS voltage has been reduced. Hence, it is highly essential to eliminate the issues as mentioned earlier. In this research, a PV-based DSTATCOM is introduced for online-monitoring adaptive Chebyshev neural network controller with triple-boost inverter topology. The three-phase system’s D-Q components, which have been continuously extracted under instant-loading conditions, and the reference magnitude, have been compared through the proposed controller. The error signal is received from the adaptive Chebyshev neural network controller, through which the proposed inverter-switching devices are triggered with multi-carrier pulse width-modulation technique are used to compute the THD of 2.79%. Furthermore, this proposed seven-level inverter and controller have solved the aforementioned problems and maintained the floating capacitor’s voltage nearly as similar as the source voltage in different loading conditions to ensure the efficiency of the system is at 96.82%. To ensure its suitability in real-time, the proposed controller is simulated with MATLAB software and validated through the downscale experimental setup and the results are observed. | 20 | 0 | 2022
21 | © 2022Due to the widespread use of power electronics-based technology in distribution systems nowadays, power quality (PQ) has become a key aspect. A compensators were placed the system to manage the PQ issues. The controlling scheme of the compensators was consider as an important for mitigating the PQ problems. In the proposed model, four different compensators were utilized to improve the power quality of the system. The compensators consider for the proposed model were UPFC, DPFC, USSC and UPQC. A real-time benchmark dataset was generated under various power quality issues such as swell, interruptions, sag and harmonics. Based on the generated dataset, a deep learning intelligent controller model was designed, which controls the system to maintain stable power flow without any problem. The compensators were individually integrated into the system to analyze performance under various conditions such as swells, interruptions, sags and harmonics. The performance of the proposed intelligent controller was analyzed and compared with some other present techniques such as SVM and ANN. The proposed controller provides 0.97% accuracy, and the compensators provide low harmonics content that appeared as DPFC have 0.00772%, the USSC have 0.00529%, the UPFC have 0.00340%, and the UPQC have 0.00193%. These demonstrate the proposed controller provides low harmonic with highly secure and reliable operation. | 21 | 2 | 2023
22 | © 2022 by the authors.This study investigated the problem of controlling a three-phase three-wire photovoltaic (PV)-type distribution static compensator (DSTATCOM). In order to model, simulate, and control the system, the MATLAB/SIMULINK tool was used. Different controllers were applied to create switching pulses for the IGBT-based voltage source converter (VSC) for the mitigation of various power quality issues in the PV-DSTATCOM. Traditional control algorithms guarantee faultless execution or outcomes only for a restricted range of operating situations due to their present design. Alternative regulators depend on more resilient neural network and fuzzy logic algorithms that may be programmed to operate in a variety of settings. In this study, an adaptive linear neural network (ADALINE) was proposed to solve the control problem more efficiently than the existing methods. The ADALINE method was simulated and the results were compared with the results of the synchronous reference frame theory (SRFT), improved linear sinusoidal tracer (ILST), and backpropagation (BP) algorithms. The simulation results showed that the proposed ADALINE method outperformed the compared algorithms. In addition, the total harmonic distortions (THDs) of the source current were estimated under ideal grid voltage conditions based on IEEE-929 and IEEE-519 guidelines. | 22 | 0 | 2023
23 | © 2022 by the authors.This research work aims at providing power quality improvement for the nonlinear load to improve the system performance indices by eliminating maximum total harmonic distortion (THD) and reducing neutral wire current. The idea is to integrate a shunt hybrid active power filter (SHAPF) with the system using machine learning control techniques. The system proposed has been evaluated under an artificial neural network (ANN), gated recurrent unit, and long short-term memory for the optimization of the SHAPF. The method is based on the detection of harmonic presence in the power system by testing and comparison of traditional pq0 theory and deep learning neural networks. The results obtained through the proposed methodology meet all the suggested international standards of THD. The results also satisfy the current removal from the neutral wire and deal efficiently with minor DC voltage variations occurring in the voltage-regulating current. The proposed algorithms have been evaluated on the performance indices of accuracy and computational complexities, which show effective results in terms of 99% accuracy and computational complexities. deep learning-based findings are compared based on their root-mean-square error (RMSE) and loss function. The proposed system can be applied for domestic and industrial load conditions in a four-wire three-phase power distribution system for harmonic mitigation. | 23 | 1 | 2022
24 | © 2022 by the authors. Licensee MDPI, Basel, Switzerland.Voltage sag in a power system is an unavoidable power quality issue, and it is also an urgent concern of sensitive industrial users. To ensure the power quality demand and economical operation of the power system, voltage sag management has always drawn great attention from researchers around the world. The latest research that realizes the power quality conditioning has used dynamic voltage restorers (DVRs), static VAR compensator (SVCs), adaptive neuro-fuzzy inference systems (ANFISs), and fuzzy logic controllers based on DVR to mitigate voltage sag. These devices, methods, and control strategies that have been recently used for voltage sag mitigation have some limitations, including high cost, increased complexity, and lower performance. This article proposes a novel, efficient, reliable, and cost-effective voltage sag mitigation scheme based on a modular multilevel converter (MMC) that ensures effective power delivery at nominal power under transient voltage conditions. The proposed method, the MMC, compensates for the energy loss caused by voltage sags using its internal energy storage of the submodules, and ensures reliable power delivery to the load distribution system. Furthermore, control strategies are developed for the MMC to control DC voltage, AC voltage, active power, and circulating current. Detailed system mathematical models of controllers are developed in the dual synchronous reference frame (DSRF). Validation of the results of back-to-back MMC for dynamic load distribution system is analyzed which proves the effectiveness of the proposed scheme for voltage sag mitigation. | 24 | 2 | 2022
25 | © 2022 IEEE.Static Synchronous Compensators known as (STATCOMs) are often used in power system transmission networks as voltage regulators and VAR compensators. This research proposes the integration of STATCOMs in distribution networks, particularly in PV grid-connected systems that use distributed energy resources in order to minimize active and reactive power demand from the grid by delivering variable reactive power from an alternate supply that adjusts to the load demand. This decreases the dependence on the utility power supply and promotes the integration of STATCOMs with renewables. Complete case studies comparing the applications of STATCOM, a voltage source converter with a decoupled active and reactive power control algorithm, and a fixed reactive power compensating condenser for the purpose of dynamic VAR compensation to loads connected at the point of common coupling in a grid-connected photovoltaic (PV) system are presented. The goal of this study is to investigate how dynamic loads, such as induction motors, behave under steady-state conditions when the supply's reactive power demand rises, as well as how this demand variance affects the network that supplies these loads. Complete system modeling and analysis for both scenarios, the fixed reactive power compensator and the STATCOM, supplying various load demands, have been developed. The simulation is based on a 100-kW rated PV grid-connected system to simulate behavior and performance of such study. Adaptive Neuro Fuzzy Inference System with Particle Swarm Optimization was used to extract the maximum power point of the PV array proceeded by a sliding mode controller. MATLAB/ Simulink was developed for modelling and analysis. Various load dynamics with varying solar irradiance and increasing reactive power demand of the associated load were simulated to evaluate various challenges and disturbances on the power supply. | 25 | 0 | 2022
26 | © 2022 THE AUTHORSCommonly Static Synchronous Compensators (STATCOMs) are employed extensively as voltage regulators and VAR compensators in transmission networks in power systems. This research proposes the integration of STATCOMs in distribution networks, particularly in PV grid-connected systems that use distributed energy resources to reduce active and reactive power demand from the grid by supplying variable reactive power from an alternative supply which adapts to the load demand. This decreases the dependence on the utility power supply and promotes the integration of STATCOMs with renewables. Complete case studies between the differences in application of a fixed reactive power compensating condenser and STATCOM for dynamic VAR compensation to loads connected at the point of common coupling in a grid connected Photo-Voltaic (PV) system is presented. The scope of this research is to examine the behavior of dynamic loads, such as an induction motor, at steady state operation when the reactive power demand from the supply increases, as well as the effect of this demand variation on the network that supplies such loads. Complete system modeling and analysis for both scenarios, the fixed reactive power compensator and the STATCOM, supplying various load demands, have been developed. The simulation is based on a 100-kW rated PV grid-connected system to simulate behavior and performance of such study. Adaptive Neuro Fuzzy Inference System with Particle Swarm Optimization was used to extract the maximum power point of the PV array proceeded by a sliding mode controller. MATLAB/ Simulink was developed for modelling and analysis. Various load dynamics with varying solar irradiance and increasing reactive power demand of the associated load were simulated to evaluate various challenges and disturbances on the power supply. | 26 | 0 | 2022
27 | © 2022 University of Kuwait. All rights reserved.Most of the economies are emerging with the growth in the renewable energy system. A solar photovoltaic system is one of the good sources of energy among them which provides clean and green energy. As it adds less pollution to the environment and hence advancement in technology of renewable energy system adds great effect on the environmental preservation. This paper describes a 1-ф photovoltaic distributed generation system having enhanced power quality features. Initially, the system has been implemented by using pulse width modulation-based switching schemes for the smooth control of the power flow between photovoltaic system, grid, and non-linear load. The system involves nonlinear current compensation and capacitor voltage balancing along with maximum power point tracking. Using this model, sample data has been collected for the training and testing of artificial neural networks. The artificial neural network was trained using the scaled conjugate gradient approach. The response of the neural network provides an estimated reference current for the controller to enhance power quality features. The inverter used in this work also acts as a shunt active power filter during night time. The system's result is simulated and validated through MATLAB/Simulink. | 27 | 3 | 2022
28 | © 2022, The Author(s), under exclusive license to Springer Nature Singapore Pte Ltd.In recent years, one of the major concerns in the distribution system is the quality of power at the consumer side. Out of all power quality issues, voltage sag is the most frequent one. The Dynamic Voltage Restorer (DVR) is one of the effective ways for protecting sensitive loads from Voltage sag/swell conditions. In this paper design and analysis of DVR for mitigating voltage sag is done by means of MATLAB/SIMULINK. The results of conventional DVR controller using PI are compared with Artificial Neural Network (ANN). | 28 | 2 | 2022
29 | © 2021 by the authors. Licensee MDPI, Basel, Switzerland.This paper aims to present the analysis and development of a complete electronic smart meter that is able to perform four-quadrant measurements, act as a three-phase shunt active power filter (APF), and control three-phase induction motors by stator flux estimation. A transmission control protocol together with Internet protocol (TCP/IP) communication protocol for the remote access of measurement data is embedded into the application to securely transmit reliable information. An artificial neural network trained with particle swarm optimization is used for stator flux estimation, and a fuzzy logic controller is adopted to regulate the power converter DC bus voltage. The present work gathers knowledge from multidisciplinary fields, and all applied techniques have not been proposed altogether before. All control functions are embedded into a field-programmable gate array (FPGA) device, using VHSIC Hardware Description Language (VHDL), to enhance efficiency taking advantage of parallelism and high speed. An FPGA-in-the-loop cosimulation technique was first applied to prove the control functions’ functionality, and, later, experimental evaluations are conducted to finally prove equipment operation and reliability. | 29 | 1 | 2021
30 | © 2021 IEEE.For voltage sag compensation, an effective device used for gaining acceptance is dynamic voltage restorer. Depending upon the high voltage injection and the amount of energy stored in the restorer, the compensation capability of a dynamic voltage restorer (DVR) will occur. In the distribution system, phenomenon that mainly occurs is the voltage sag, which minimizes the RMS voltage for a short stretch of time. In order to compensate the voltage sag, a power electronic device that is DVR is utilized to inoculate a 3\ \phi voltage in series and to synchronise with the distribution feeder voltage. Here the working of DVR is explained. The control methods employed for compensation of sag, swell, harmonics by power circuit of DVR is explained and verified by using simulation. In the distribution system, power quality disturbance is the main concern, which develops tripping and malfunctions in sensitive equipment. The main power quality problems can be cleared by inoculating the real and reactive power to the point of connection (PCC) by DVR. In order to improve the efficiency of the distribution system, the remuneration of voltage sag and swell issues and the elimination of power factor issues and harmonics by DVR are explained in this study and it is done with and without ANN. During power quality events, it is found that, the obtained output in both the cases is the proposed system that readily find the harmonics and eliminates the power quality problems by inoculating the real/reactive power with no/less distortions than traditional system. | 30 | 2 | 2021
31 | © 2020, Springer-Verlag GmbH Germany, part of Springer Nature.Most of today’s every power system networks deals with a serious scenario of Power quality. This problem had ever more observed with the advent of practical hardware, in which it will carry out serious impact in the eminence of power supply in to the micro-grid networks. Matter by reason of power quality, it is produced and critical to a non-common normal current and voltage re-emergence. It takes with reference to the distress of sophisticated electronic gadgets and renewable vigor sources. The predominant matter is centers to the voltage enlargements and dips. In this paper the instigator introduces a precise method for the bulge of voltages and dips. In the direction of revise the topic pointed out above for modified power types of electronic cog is embraces. Solitary, dynamic voltage restorer (DVR), is a leading progressed control hardware that can be utilized in micro-grids. If any uncertainty produced in the micro-grid DVR act as most favorably to ease the power quality problems. This job clarifies the MATLAB consequences of a dynamic voltage restorer (DVR) demonstrating with investigation. Particular form of controller’s similar to PI and NN controller like (proportional integral and neural network) is utilized in this DVR system. In this system procedure, DVR NN controller actualizes modified through the conventional PID-controller can be used examine a builded Composite micro grid system with Renewable sources. The newly developed controller is faster than traditional process initiated controller. By the use of MATLAB replication tools, presentation of the system shall be considered. To find the performance of the suggested NN based DVR which is simulated for the power loss reduction, power factor correction, and active and reactive power flow control. From the simulation results, NN based DVR is better compared to PI based DVR. | 31 | 2 | 2021
32 | © 2021 IEEE.This paper presents a Shunt Active Power filter designed for a three- phase three- wire system feeding a non-linear load. Instantaneous PQ theory is used for reference current calculation. Power circuit of SAPF is a Five- level Cascaded H- bridge inverter controlled by Phase Disposition modulation technique. ANFIS controller is designed for improving the performance of SAPF by maintaining the DC capacitor voltage constant. Overall control of proposed SAPF resulted in power quality improvement in distribution system by reducing current harmonics at source side of PCC. Simulation is executed on Matlab/ Simulink platform and results are presented depicting the performance of proposed SAPF under balanced and unbalanced loading conditions. | 32 | 1 | 2021
33 | © 2013 IEEE.The growing use of nonlinear devices is introducing harmonics in power system networks that result in distortion of current and voltage signals causing damage to power distribution systems. Therefore, in power systems, the elimination of harmonics is of great significance. This paper presents an efficient techno-economical approach to suppress harmonics and improve the power factor in power distribution networks using Shunt Hybrid Active Power Filters (SHAPF) based on neural network algorithms like Artificial Neural Network (ANN), Adaptive Neuro-Fuzzy Inference System (ANFIS), and Recurrent Neural Network (RNN). The objective of the proposed algorithms for SHAPF is to enhance system performance by reducing Total Harmonic Distortion (THD). In our filter design approach, we tested and compared conventional pq0 theory and neural networks to detect the harmonics present in the power system. Moreover, for the regulation of DC supply to the inverter of the SHAPF, the conventional PI controller and neural networks-based controllers are used and compared. The applicability of the proposed filter is tested for three different nonlinear load cases. The simulation results show that the neural networks-based filter control techniques satisfy all international standards with minimum current THD, neutral wire current elimination, and small DC voltage fluctuations for voltage regulation current. Furthermore, the three neural network architectures are tested and compared based on accuracy and computational complexity, with RNN outperforming the rest. | 33 | 1 | 2021
34 | © 2021 IETE.The advent of power electronic devices for the control of non-linear loads has made an impact on the power quality at the Distribution side of the utility grid. The Distribution side must be compensated for both reactive and real power compensation while simultaneously improving the power quality. Unified Power Quality Conditioner is a FACTS device with back-to-back converters coupled together with a DC link element that improves the power quality at the Distribution side. The DC link element sizing and the converter ratings are the challenges faced during the design of UPQC. The Distributed Energy Resource (DER) integrated at the DC link element, supports for power exchange and minimization of the converter ratings. UPQC integrated with a DER simultaneously improves the fault-ride-through capabilities at the Point of Common Coupling. The PV integrated UPQC with bidirectional series and shunt converters are controlled by a hybrid combination of Unit Vector Template and p-q theory respectively. The control unit of the proposed system has to be more precise in a closed-loop structure. The conventional mathematical based PI controllers fail to perform well during the transient oscillations for the UPQC system. The proposed PV-UPQC system has been analysed with an Adaptive Neuro-Fuzzy controller that embeds a reinforced learning algorithm. The Fuzzy-Model-Based (FMB) controller improves the performance of the system by inferencing the system parameters through linguistic rules and helps in reference current generation. The PV-UPQC performed significantly well even during various load conditions. The implementation of an Adaptive Neuro-Fuzzy Inference System leads to minimization in the percentage of Total Harmonic Distortion level. | 34 | 3 | 2021
35 | © 2020 ISAThis paper presents a simulation study and an experimental implementation of a single-phase Series Active Power Filter (SAPF) for the mitigation of harmonics in the load voltage. The aim is to regulate the injection voltage of the SAPF to compensate the grid voltage via the injection transformer in addition to maintaining the load voltage stable. The control strategies investigated in this work include Backstepping Sliding Mode Control (BSMC) and a neuro-fuzzy controller based on ANFIS (Adaptive Neuro-Fuzzy Inference System) l. The proposed control strategies for the single-phase SAPF are initially evaluated in simulations under MATLAB/Simulink and then validated on a laboratory-scale hardware experimental set up consisting of a source and a single-phase SAPF. A comparative study of these controllers with respect to their performance and robustness in mitigating power quality against voltage disturbances and harmonics is presented. Both simulation and experimental results have demonstrated that ANFIS-based controller was able to achieve superior performance and a lower total harmonic distortion (THD) as compared to the other control methods. | 35 | 1 | 2020
36 | © 2020, Springer-Verlag GmbH Germany, part of Springer Nature.In this article, a fifteen-level cascaded H-bridge multilevel inverter with active power filtering capability is suggested to increase the power quality in a single-phase distributed generation (DG) system. Integrating renewable power sources in the distribution line becomes easier with advancements in power electronic converters. At the same time, increase in usage of nonlinear loads leads to electronic pollutions like harmonics and power factor issues. Since most of the DG systems have interfacing inverters, it can be utilized for power quality improvement. This proposed work presents a control scheme to gain maximum utilization of these grid interfacing inverters with artificial neural network (ANN). An instantaneous p-q theory in a-ß-0 reference frame-based control algorithm is derived to control the inverter in the single-phase distribution system. In the ANN-based approach, the control algorithm is solved and the ANN is trained based on the switching angles obtained. The trained system is integrated with DG system to operate as a multitasking circuit by adding active power filter (APF) operation. It is proposed to utilize the interfacing inverter as: (1) interfacing inverter to add power produced from renewable sources and (2) APF to mitigate the harmonics. Both functions are accomplished simultaneously. The proposed work is verified with extensive MATLAB/Simulink, and the obtained results demonstrate that the proposed approach delivers a notable improvement in power quality concerning reduction in total harmonic distortion and injection of real power generated through RES into the distribution line. A 3-kWp photovoltaic panel with multifunctioning inverter designed utilizing ANN is executed in an experimental setup to prove the efficiency of the proposed approach. | 36 | 3 | 2020
37 | © 2020 IEEE.This paper presents the hysteresis controller, based scheme for distribution static compensator (DSTATCOM) for analysis of faults, line-line fault, line to ground fault, single line to ground fault for power quality improvement. DSTATCOM is used for power quality improvement. It provides the deficient reactive power in the distribution system. Conventionally hysteresis controller uses proportional and integral (PI) controller. In this paper, artificial neural network (ANN) and adaptive neuro fuzzy inference system (ANFIS) based DSTATCOM controllers are implemented for the analysis of different faults. This paper also provides the comparison of different faults for ANN and ANFIS based DSTATCOM with the help sequence analyzer. Sequence analyzer is used for the positive, negative and zero sequence analysis of three phase signal. Per unit study of the output voltage is carried out to compare the results of the different faults based on ANN and ANFIS controller. The simulation results show the improved results for the voltage profiles with ANFIS controller. The simulation of the proposed model is done with the help of MATLAB/Simulink software. | 37 | 0 | 2020
38 | © 2020 IEEE.The decay of power quality is one of the principal issues of electrical distribution systems. One of the main reasons for this is the use of non-linear devices like the switching devices and the power electronics converters. Non-linearity leads to detrimental effects on the utility of the power supply, system efficiency, reduction in power factor, etc. The reactive power is increased due to the reduction in power factor and it does not have any contribution in the transfer of energy, hence its compensation is needed. In this paper, the Artificial Neural Network (ANN) and Adaptive Neuro Fuzzy Inference System (ANFIS) based control methods for a Three-Phase Distribution Static Compensator (DSTATCOM) are proposed. This is used for compensation of the reactive power along with the current related power quality issues that include harmonics. These control methods are simulated in the MATLAB environment with the help of the SIMULINK toolbox. The simulation results suitably demonstrate the performance of these methods and it is found that source current waveforms with lesser distortion are achieved with ANFIS as compared to ANN. | 38 | 0 | 2020
39 | © 2019, Springer-Verlag GmbH Germany, part of Springer Nature.In power quality (PQ) problems, the flexible AC transmission system (FACTS) devices have been developed the real power and reducing the PQ issues of the power system. Here the PQ analysis in photovoltaic (PV), wind turbine (WT) system with grid integrated static switched filter compensator (SSFC) is controlled by adaptive technique. The adaptive technique works with the combined process of Cuttle fish algorithm (CFA) and recurrent neural network (RNN) algorithm. The proposed adaptive technique is controlling the irregular switching process of the shunt capacitor banks of a tuned arm filter in SSFC device. The novelty of the proposed technique is improved for energy efficiency and demand management in grid utilization process. Here a power injection model of SSFC is considered to control the real power flow control in terms of grid utilization. The switching process is controlled by balancing control signal generated with the help of pulse width modulation (PWM) process. To modulate the PWM is used by two regulators, which is based on a tri-loop real error managed combined weighted adjusted proportional integral derivative controller. The proposed SSFC system is designed and implemented in MATLAB/Simulink platforms and the performance is validated with some existing devices such as unified power flow controller and SSFC devices. | 39 | 3 | 2020
40 | © 2020Neural Network (NN) based Least Mean Square (LMS)–Least Mean Fourth (LMF) control technique is developed and implemented in Field Programmable Gate Array (FPGA) for Shunt Active Power Filter (SAPF) to enhance Power Quality (PQ) in three-phase four wire distribution system. The PQ enhancement comprises the improvement of power factor, mitigation of harmonics and compensation of reactive power. The proposed control strategy is simulated in MATLAB/Simulink to determine the reference source currents and weights of active and reactive components. The simulation results of LMS–LMF control are compared with the other three control strategies. The NN control is developed as individual modules in FPGA. Thus it can be configured to any other research area which has identical requirements. The FPGA implementation overcomes the drawback of conventional controllers with a fast and accurate response. The FPGA based proposed control strategy for SAPF is developed as a laboratory prototype and the results obtained are analyzed. The results attained adhere to power quality standards. | 40 | 1 | 2020
41 | © 2020 Tech Science Press. All rights reserved.This paper proposes the optimum controller for shunt active filter (SAF) to mitigate the harmonics and maintain the power quality in the distribution system. It consists of shunt active filter, Voltage Source Inverter (VSI), series inductor and DC bus and nonlinear load. The proposed hybrid approach is a combination of Particle Swarm Optimization (PSO) and Artificial Neural Network (ANN) termed as PSOANN. The PI controller gain parameters of kp and ki are optimized with the help of PSOANN. The PSOANN improves the accuracy of tuning the gain parameters under steady and dynamic load conditions; thereby it reduces the values of THD within the prescribed limits of IEEE 519. The PSO optimizes the dataset of terminal voltage and DC voltage present in shunt active filter for different load condition. The optimized dataset acts as the input for the controller to predict the optimal gain with minimal error and to generate the optimized control signal for the SAF. The proposed methodology is modelled and simulated with the help of MATLAB/Simulink platform and illustrated the few test cases considered for exhibiting the performance of proposed hybrid controller. The experimental results are measured with developed laboratory prototype and compared with the simulation results to validate the effectiveness of the proposed control methodology. | 41 | 1 | 2020
42 | © 2019, Springer-Verlag GmbH Germany, part of Springer Nature.The major concern in power distribution system is the power quality concerns specifically voltage sag/swell and harmonics. To compensate for such voltage disturbances, an effective device called dynamic voltage restorer (DVR) is utilized in the electric power distribution system. Accordingly, in this paper, the DVR is designed to shield the sensitive load from source-side voltage disturbances under nonlinear load conditions. Further, in the proposed work, an ant lion optimizer-optimized artificial neural network (ALO-ANN) is used to control DVR, thus compensating the balanced and the unbalanced voltage sag/swell and distortions in the load-side voltage. Simulation results using MATLAB/Simulink software are analysed to confirm the efficiency of the suggested ALO-ANN regulator scheme of DVR system at critical loads by comparing with the existing PSO (particle swarm optimization)-centred control scheme. | 42 | 2 | 2020
43 | © 2020 Inderscience Enterprises Ltd.Microgrid tends to be the cluster of some of the renewable energy sources. The most important research area in the power distribution system side is the improvement in the quality of power delivered to the end users. This paper focuses on enhancing the power quality of the microgrid system; shunt active power filters (SAPF) is employed at the distribution side and to design an appropriate controller that achieves a better compensation for the considered SAPF. It is to be noted that the compensation methodology is dependent on the regulation process of the DC-link voltage. Traditionally, this regulation process is carried out employing a closed loop proportional-integral controller. In this paper, a hybrid biogeography-based optimisation - particle swarm optimization-based extreme learning machine neural network model is proposed to design the compensation for the SAPF and to mitigate the harmonics so that effective power gets delivered through the grid. | 43 | 1 | 2020
44 | © 2021 John Wiley & Sons Ltd.This paper proposes a novel control scheme for unified power quality conditioner (UPQC) to minimize voltage sag, swell, and total harmonic distortion (THD) in a distribution grid integrated with distributed generation (DG). UPQC is a power electronics module that can provide, both, series and shunt compensation simultaneously in a distribution system. The whole characteristic of UPQC is dependent on the embedded control algorithms, which are used for generating a reference signal. This work focuses on synchrosqueezing wavelet transform (SWT) based identification, detection, and control of power quality (PQ) events. SWT is a time-frequency analysis method that analyzes multicomponent signals with oscillating modes. In this paper, first, SWT is used for the detection and identification of various kinds of PQ issues in the DG integrated grid. The SWT based identification scheme provides better resolution and increases the readability of time-frequency representation. This work further explores to control the PQ issues through UPQC's enhanced compensation capabilities which utilize artificial neural network (ANN) with SWT based shunt controller. The effectiveness of the proposed method is validated through MATLAB/ SIMULINK simulations and is seen that ANN with SWT based controller is better performed in comparison to ANN based controller, in terms of accuracy, and also with respect to THD. Performance analysis of UPQC is carried out with ANN based controller as well as ANN with SWT based controller, under different voltage and current disturbances, in time and frequency domain. | 44 | 3 | 2021
45 | © The Authors, published by EDP Sciences, 2021.The compensating devices are controlled in the structure of the automatic control system in conjunction with the sensors included in a particular node of the power grid. But the overall state of the local power grid for the reactive power flow is not considered. It is proposed to generate control signals to correction devices by processing the information obtained by monitoring from remote sensors of voltage and current of the distribution grid. It is possible to use the matrix method of forming the control signals to correction devices to adjust the grid parameters. To improve the energy efficiency of correction devices in the monitoring structure, it is proposed to use static reactive power compensators (SVCs) based on magneto-valve elements. The proposed distribution grid monitoring structure with the transfer of information over a local area network from sensors to correction devices makes it possible to stabilize the required grid parameters among consumers and minimize the loss of electrical energy from reactive power flow. | 45 | 0 | 2021
46 | © 2021 by the authors. Licensee MDPI, Basel, Switzerland.The extensive usage of power electronic components creates harmonics in the voltage and current, because of which, the quality of delivered power gets affected. Therefore, it is essential to improve the quality of power, as we reveal in this paper. The problems of load voltage, source current, and power factors are mitigated by utilizing the unified power flow controller (UPFC), in which a combination of series and shunt converters are combined through a DC-link capacitor. To retain the link voltage and to maximize the delivered power, a PV module is introduced with a high gain converter, named the switched clamped diode boost (SCDB) converter, in which the grey wolf optimization (GWO) algorithm is instigated for tracking the maximum power. To retain the link-voltage of the capacitor, the artificial neural network (ANN) is implemented. A proper control of UPFC is highly essential, which is achieved by the reference current generation with the aid of a hybrid algorithm. A genetic algorithm, hybridized with the radial basis function neural network (RBFNN), is utilized for the generation of a switching sequence, and the generated pulse has been given to both the series and shunt converters through the PWM generator. Thus, the source current and load voltage harmonics are mitigated with reactive power compensation, which results in attaining a unity power factor. The projected methodology is simulated by MATLAB and it is perceived that the total harmonic distortion (THD) of 0.84% is attained, with almost a unity power factor, and this is validated with FPGA Spartan 6E hardware. | 46 | 3 | 2021
47 | © 2022 Taylor & Francis Group, LLC.In this paper, a single layer Recurrent Neural Network (RNN) algorithm has been proposed for the control of single-stage three-phase grid integrated solar photovoltaic (PV) system. Voltage Source converter (VSC) has been controlled for overcoming power quality problems in distribution systems viz. harmonic mitigation, active and reactive power compensation, load balancing etc. in three-phase grid connected PV systems. The PV array has been designed such that it delivers maximum power to the grid via VSC. The proposed algorithm has been implemented in MATLAB/Simulink and tested on hardware. Simulation and experimental results have been shown for the verification of the proposed algorithm under steady-state and dynamic conditions. These results conform to standard IEEE-1547 and the harmonics in grid currents are reduced to < 5% for the grid-connected PV system. | 47 | 3 | 2021
48 | © 2021 IEEE.This paper proposes the modeling and analysis of a three-phase four wire Shunt Active Power Filter (SHAF) based on real and reactive power (PQ) control method for power quality advancement in the electrical distribution system. The electrical distribution system contains loads like diode rectifiers with resistive load and non-linear resistive-inductive (RL) load respectively. The SHAF system construction consists of an isolation T / Hexagon winding transformer and three-phase IGBT H-bridges for voltage source inverters (VSI). It also has a tuned band-pass type passive filter. The main aims of this paper cover design, modeling, construction, and testing of a SHAF prototype for a three-phase four wire nonlinear and unbalanced system. For effective controlling action, an advanced Fuzzy-Granular controller is used in place of a traditional PI controller. This system is capable to mitigate voltage and current harmonics at a low power distribution system. The control method is developed for absorbing higher-order harmonics and store the same in the capacitor and revert it back to the system in the form of the fundamental waveform, thereby filtering action was done. The controllers based on the d-q-0 transformation technique and first-order transfer function model with three individual PWM controllers for three phases were applied to the SHAF. The proposed system is verified with PI, ANFIS, and Fuzzy-Granular controllers using MATLAB/ Simulink and compares the difference in performance. | 48 | 1 | 2021
49 | © 2021 Taylor & Francis Group, LLC.The utility grid is prone to power quality issues due to the advent of power electronic devices and integration of Distributed Energy Resources. The power quality has to be maintained despite variation in load under steady and fault conditions. Unified Power Quality Conditioner is a FACTS device that improves the power quality at the Distribution side of the utility grid. In Unified Power Quality Conditioner, reactive and real power compensation is carried out simultaneously improving the power quality. The proposed control algorithm for Unified Power Quality Conditioner is a hybrid combination of Reactive Power Control and Unit Vector Template. The Unified Power Quality Conditioner is integrated with Distributed Energy Resources like solar energy to minimize the power rating of converters and meet the power demand. The reinforced learning algorithms have been effectively increasing the performance of the power electronic devices; among them, the most commonly used is the Neural-Network algorithm. The Artificial Neural Network controller for the solar integrated Unified Power Quality Conditioner system improves the power quality when compared to the conventional controllers by self-adapting themselves to the environmental needs. The system is tested under both balanced and unbalanced load conditions with MATLAB-SIMULINK. The per-unit system has been used for the analysis purpose to minimize the complexity. The hybrid control of the series and shunt converters supported by solar integration at the DC link proves to eliminate distortion caused by the non-linear load. The system is subjected to a momentary voltage sag/swell as per IEEE 1159 standards. The momentary sag/swell that varies between 0.5 seconds to 3 seconds has been made to ride through less than 50 milliseconds as per the Computer and Business Equipment Manufacture Association curve. The load side current harmonics have been minimized inevitably by the proposed control methodology to ensure reliability and good power factor at the Distribution side. A comparative analysis between the conventional Proportional-Integral controller and Artificial Neural Network controller in solar integrated Unified Power Quality Conditioner proved the Artificial Neural Network controller improved the harmonic reduction of various orders by an average of 12.72%. The Total Harmonic Distortion minimization for various harmonic orders was brought under the limits of IEEE 519 standards with Artificial Neural Network controller. | 49 | 3 | 2021
50 | © 2019 Informa UK Limited, trading as Taylor & Francis Group.This study presents Levenberg–Marquardt back propagation (LMBP)-based artificial neural network controlled UPQC. The proposed power distribution system includes LMBP, back-to-back connected 5-level diode clamped converter (DCC), three-phase three wire distribution system, sinusoidal PWM, Hysteresis current controller and Power Angle Adjustment (PAA). Various abnormal faults like L–G, L–L–G and L–L–LG faults are considered as the major challenging issues for analysis. ANN-based PAA control is developed in this work to share reactive power between shunt and series converters without increasing the converter rating of UPQC and hence reduces the overall cost of the system. Simulation models of back-to-back connected 5-level DCC-based UPQC, Synchronous Reference Frame (SRF) and proposed ANN-based power angle control schemes are developed using SPS toolbox in Matlab/Simulink. ANN control scheme demonstrates more effective solution compared to SRF-based control, under the system subjected to different states. | 50 | 3 | 2021
51 | © 2020 IEEE.Adaptive linear control algorithms are used as a power quality enhancement solution for harmonics elimination, load balancing and power factor correction in the distribution system. This paper presents a comparative study on the performance of a grid-tied voltage source inverter with various Adaptive Linear Neural Network (ADALINE) control algorithms including Least Mean Square (LMS), Least Mean Fourth (LMF) and Least Mean Mixed Norm (LMMN). These adaptive control algorithms are simulated using MATLAB SIMULINK for a two-level inverter with non-linear and unbalanced loads at the point of common coupling. Simulation results under various load variations ensure the superiority of LMMN algorithm over LMS and LMF in performance and convergence speed. | 51 | 1 | 2020
52 | © 2020 IEEE.This paper proposes a multi-step prediction method for the total harmonic distortion (THD) in three-phase networks with nonlinear loads using a nonlinear autoregressive network with exogenous inputs (NARX).The prediction is performed in three stages: in an open-loop neural network, closed-loop mode, and open-loop mode with the removal of the delay time. To verify the accuracy of the proposed method for identifying the harmonic source, comparisons are performed with two types of neural networks, a feed-forward back-propagation (FFBP) neural network and a cascaded feed-forward back-propagation (CFFBP) neural network. Moreover, three different cases of nonlinear loads are studied to validate the effectiveness of the proposed technique for harmonic prediction. A MATLAB/Simulink program is used for the modelling and simulation of the distribution system and all neural networks. | 52 | 1 | 2020
53 | © 2020 International Information and Engineering Technology Association. All rights reserved.Shunt Active Power Filters (SAPF) are an emerging power electronics-based technology to mitigate harmonic and improve power quality in distribution grids. The SAPF proposed in this paper is based on three-phase Flying Capacitor Inverter (FCI) with a three-cell per phase topology, which has the advantage to provide voltage stress distribution on the switches. However, controlling the voltage of floating capacitors is a challenging problem for this type of topology. In this paper, a controller based artificial neural networks optimized with particle swarm optimization (ANN-PSO) is proposed to regulate the filter currents to follow the references extracted by the method of synchronous reference frame (SRF). The simulation results showed an enhancement of the power quality with a significant reduction in the THD levels of the current source under various loading conditions, which confirms the effectiveness, and robustness of the proposed control scheme and SAPF topology. | 53 | 1 | 2020
54 | © 2020 Bentham Science Publishers.Background: The undesirable effect of power quality issues on distribution system due to power electronics based controllers; it is highly desired to design a novel power quality conditioner with a minimum number of switches. The proposed configuration reduces the switching loss and also effectively alleviates the power quality issues. This paper introduces the configuration of 3P4SW (Three Phase Four Switch) UPQC (Unified Power Quality Conditioner) for both shunt and series APF (Active Power Filter) as well as 3P9SW (Three Phase Nine Switch) UPQC topologies, which can be implemented in medium voltage power grid. The major challenge of phase balance with only four switches in UPQC is accomplished by adaptive Self-tuning PID using neuro-fuzzy logic control and adaptive reference current generation scheme. This controller improves sag and swells compensation with better angle control via shunt and series converter performance and passive components design. The efficacy of proposed topology is tested on MATLAB/Simulink software and results are compared with the existing three phase six switch configuration (3P6SW). Methods: The main objective of this work is to identify the most suitable configuration of UPQC to mitigate the power quality issues in power distribution system. to achieve this goal a Synchronous reference frame theory is used to generate the pulses in the back to back connected VSI in UPQC. Results: The suggested topologies should not compromise with the nominal functions of the controller; hence from the simulation analysis it clear that the 3P4SW UPQC, as well as 3P9SW UPQC topologies, will fulfill the given constraints and also it maintains the magnitude of the load voltage as per the standard values. Also, the THD percentage is maintained well within the IEEE standard. Thus the proposed topologies can be implemented for medium voltage distributed system with improved power quality. | 54 | 3 | 2020
55 | © 2020, Springer Nature Singapore Pte Ltd.Voltage sag is the most appearing and unenviable Power Quality phenomenon in the distribution system which puts the sensitive load under risk. Voltage sags directly affect the stability of electrical networks. To diminish this phenomenon Dynamic Voltage Restorer (DVR) is implemented in distribution system. DVR uses multilevel converter for high power applications. Conventional DVR using multilevel PWM AC–AC converters undergo few drawbacks such as commutation problem and voltage balancing control issue. DVR with energy storages are bulky, costly and not able to compensate deep and longer voltage sags. This paper presents modeling and simulation of the proposed DVR system without energy storage unit and it eliminate problems undergone by conventional DVR system. Proposed system can mitigate longer voltage sags and reduce total harmonic distortions. The proposed DVR system consists of a switching cell (SC) structured cascaded multilevel PWM AC–AC converter (MPAC). The control scheme uses PI controller with PWM block to maintain the output voltage at its rated value. 1-Phase model is developed in SIMULINK for linear as well as nonlinear load. The reliability of the proposed DVR system is analyzed in MATLAB/SIMULINK for various load conditions. | 55 | 2 | 2020
56 | © 2020, Springer Nature Singapore Pte Ltd.In this modern world use of non-linear load is increases rapidly. Every daily need equipment use of non-linear load is existence. Non-linear loads affect the power quality of the power systems. An active power filter executes with four- leg voltage source inverter (4L-VSI) is demonstrated. Combination of Active power filter and STATCOM with fixed and variable switching frequency combination demonstrated in this paper. This system also mitigates unbalance current generated by non-linear load as well as allows the current harmonic components compensation. A simple mathematical model of active power filter and STATCOM presented with a prediction control algorithm with derivation of power system impedance. The performance of active filter and STATCOM compensation technique presented here with the simulation results. | 56 | 1 | 2020
57 | © Springer Nature Singapore Pte Ltd. 2020.In the study the modified Elephant Herd Optimization (EHO) algorithm is developed and designed by utilizing the distributed power flow controller (DPFC) for improving power quality (PQ) in smart grid (SG). The modification of the EHO algorithm is performed based on the Recurrent Neural Network (RNN) algorithm. The novelty in this proposed study is the enhancement of the PQ in SG from the disturbances occurred power system controller utilized the DPFC. Initially, the proposed system power flow is evaluated and the Multi Wavelet Transform (MWT) is employed to feature extraction process of the power parameters for PQ disturbances. If the output signal has any disturbances then the output signal is controlled by the proposed controller based DPFC. The proposed algorithm is employed to retain the sustained DC-link voltage of DPFC by controlling the output voltage to improve the PQ. Then the implementation process is made by the Matlab/Simulink simulation platform. The capability of the proposed system is based an evaluation of the output response and the comparative analysis with some different techniques like PSO, BAT and CFA-PSO algorithm. | 57 | 3 | 2020
58 | © BEIESP.The essential focus of this endeavor is examination of three phase four wire UPQC available for use structures by neural framework. The bound together power-quality conditioner (UPQC) is used to calm the current and voltage-related power-quality (PQ) issues in the meantime in three-arrange four-wire course structures. Among most of the PQ issues, voltage hang is a significant issue in three-arrange four-wire scattering systems. In this paper, another procedure is proposed playing out the plan parallel electrical cable trim. As such, despite when only a three-organize three-wire control structure is available at a plant site, the UPQC can do control line pay for presented loads that require a fair-minded channel to work. Not exactly equivalent to the control philosophies used in most of UPQC applications in which the controlled sums are nonsinusoidal, this UPQC uses a twofold pay technique, with the ultimate objective that the controlled sums are continually sinusoidal. Neural System controller have been used to make the proposed methodology online for least real power implantation with UPQC by using the PSObased data for different voltage rundown conditions. In the proposed system PI controller substituted by NN controller for better precision. | 58 | 3 | 2019
59 | © 2019 IEEE.This article presents intelligent controller of ANFIS (Adaptive neuro-fuzzy inference system) for the control of D-STATCOM to improve the power quality of a three phase three wire distribution system and its reliability. ANFIS uses fuzzy reasoning mechanism which is implemented using adaptive network framework. In this work, the mathematical principles of the ANFIS method are presented and developed using the software MATLAB/Simulink. The D-STATCOM made out of IGBT based VSC and a capacitor on DC side. Reactive power compensation harmonic compensation can be successfully done under dynamic load conditions. To regulate DC-link capacitor voltage, an ANFIS controller is designed. The proposed controller generates the compensation current reference which can deal with reactive power requirement of nonlinear load and DC voltage regulation. Simulation results show ANFIS controller gives better harmonic compensation and DC link voltage regulation. | 59 | 0 | 2019
60 | © 2019 IEEE.The quality of power delivering to the consumer is reducing day by day because of semiconductor devices. voltage sag, voltage swell Harmonics are most commonly occurring power quality problems in the distribution system. Dynamic Voltage Restorer( DVR) is the custom power device which can be the best possible solution to make the power system efficient and effective. In this paper a photovoltaic source based DVR is proposed with the combination of nonlinear control techniques of inverter such as artificial neural network and hysteresis voltage controller to restore the voltage in sag, swell and fault conditions that occur in the system with the detailed comparative study of Artificial Neural Network (ANN) controller over hysteresis voltage controller. Modeling and simulation of the DVR is carried out by using MATLAB electrical simulation software. | 60 | 2 | 2019
61 | © 2019 IEEE.Increasing power electronics technologies convert a traditional power system to be more smart and efficient. One application of these technology a distribution static compensator (DSTATCOM) related to A flexible alternating current transmission system (FACTS). Its a shunt connected on distribution system at the point of common coupling (PCC) used to manage and control the reactive power in order to improve power quality (PQ) issues such voltage profile at PCC. This paper proposed a new strategy for tuning controller gains of DSTATCOM based on hybrid particle swarm optimization and artificial neural networks (PSO-ANNs). The results of the simulation show the superiority and robustness of the proposed strategy of DSTATCOM to improve voltage profile in the distribution power system. | 61 | 0 | 2019
62 | © 2019 IEEE.This paper presents an analysis of the effects of solar irradiance on a single phase PV inverter system connected to a four-leg distribution system (FLDN). The proposed method aims to reduce current harmonic distortion (THDi) in the distribution system due to different and fluctuating irradiation. For this purpose, PV system with a capacity of 3.5 kW is connected to FLDN low voltage through an inverter voltage source (VSI) using intelligent control. This intelligent controller consist of: MPPT controller, constructive diagonal recurrent neural network controller (CDRNN), and synchronization and DQ transformation. The MPPT controller system automatically varies the voltage reference signal to obtain DC voltage, which extracts the maximum power from the PV string, while the DQ transformation block is used to convert the AC inverter output voltage and current into the synchronous reference frame. All of these signals are processed by the CDRNN controller to produce a PWM. Based on the simulation results using Matlab/Simulink, the THDi of FLDN was reduced from 5.09% into 4.63% in descent solar irradiance and 5.43% become 4.98% in ascend irradiance condition. | 62 | 3 | 2019
63 | © 2018 IEEE.Dynamic Voltage Restorer (DVR) is a custom power device used as an effective solution in protecting sensitive loads from voltage disturbances in power distribution systems. The efficiency of the control technique, that conducts the switching of the inverters, determines the DVR efficiency. Proportional-Integral-Derivative (PID) control is the general technique to do that. The power quality restoration capabilities of this controller are limited, and it produces significant amount of harmonics - all of which stems from this linear technique's application for controlling non-linear DVR. As a solution, this paper proposes an Artificial Neural Network (ANN) based controller for enhancing restoration and harmonics suppression capabilities of DVR. A detailed comparison of Neural Network controller with PID driven controller and Fuzzy logic driven controller is also illustrated, where the proposed controller demonstrated superior performance with a mere 13.5% Total Harmonic Distortion. | 63 | 2 | 2018
64 | © 2005-2012 IEEE.Three-phase four-wire (TPFW) distribution systems are prone to various power quality (PQ) issues, such as voltage fluctuations, poor power factor, unbalanced load conditions, and the presence of harmonics in current. Mitigation of these PQ problems using appropriate shunt compensator requires advanced control algorithms for control of three-phase voltage source converters (VSC) in a distribution system. In this paper, Chebyshev functional expansion based artificial neural network (ChANN) algorithm for shunt compensation using distribution static compensator (DSTATCOM) is proposed. The parameters of ChANN are trained in real time. Implementation results with linear and nonlinear loads are demonstrated on a prototype hardware designed and developed using dSPACE 1104, current and voltage sensors for the realization of DSTATCOM for TPFW system. A zigzag transformer is used along with conventional three-phase, three-wire (TPTW) DSTATCOM to reduce its overall rating. Suitable comparisons with conventional control techniques are also mentioned. | 64 | 0 | 2018
65 | © 2018, Taiwan Fuzzy Systems Association and Springer-Verlag GmbH Germany, part of Springer Nature.Power Quality (PQ) and reliability in distribution system have been appealing to a greater extend in modern era and also have become an area of concern for current industrial and commercial applications. This paper examines the problem of voltage sag and swells and also deals with the improved design of Dynamic Voltage Restorer (DVR) for PQ enhancement. A novel control algorithm Synchronous Reference Frame (SRF) theory with Adaptive Neuro-Fuzzy Inference System (ANFIS) controller is proposed for the creation of reference DVR voltages. In addition, different voltage injection schemes are analyzed to focus on novel method for the design of Reduced Rating DVR (RRDVR) to improve its performance in terms of output power, cost and size. The proposed DVR is demonstrated for PQ problems sag and swell using MATLAB/SIMULINK. During compensation, the output power attained from the proposed DVR is also compared with other intelligent controllers, namely Fuzzy Logic (FL) and ANFIS controller. Simulation results proved that the proposed SRF–ANFIS controller-based RRDVR offers economic solution for both utilities and customers by providing extremely deep compensation for voltage-based PQ problems occurring at very short duration of time. | 65 | 2 | 2018
66 | © 2013 IEEE.Due to the instantaneous power following into or out of the DC-link capacitor in a three-phase shunt active power filter (APF), the DC-link voltage regulation control plays an important role in the shunt APF especially under nonlinear load change. In this paper, for the purpose of improving the DC-link voltage regulation control in the shunt APF under nonlinear load variation and reducing the total harmonic distortion of the current effectively, a novel recurrent probabilistic fuzzy neural network with an asymmetric membership function (RPFNN-AMF) controller is developed to substitute for the conventional proportional-integral controller. Moreover, the network structure, the online learning algorithm, and the convergence analysis of the proposed RPFNN-AMF are detailedly introduced. Finally, the effectiveness and feasibility of the shunt APF using the proposed RPFNN-AMF controller for the DC-link voltage regulation control and the compensation of harmonic current are verified by some experimental results. | 66 | 1 | 2018
67 | © 2017 IEEE.An evolution of computational intelligence techniques is the motivation to propose an intelligent controller in this paper to minimize the harmonics in power distribution system due to the presence of non linear load. Conventional PI controller is implemented in the system and compensated reference current is generated by IRP theory. Shunt Active Power Filter is mainly used to minimize the harmonics in the power system feeding non linear load. The proposed system is implemented with ANN and ANFIS based controller and the results are compared. The system is executed in simulation environment using MATLAB simulink. | 67 | 1 | 2017
68 | © 2014 Chinese Association of Automation.Nonlinear loads in the power distribution system cause non-sinusoidal currents and voltages with harmonic components. Shunt active filters U+0028 SAF U+0029 with current controlled voltage source inverters U+0028 CCVSI U+0029 are usually used to obtain balanced and sinusoidal source currents by injecting compensation currents. However, CCVSI with traditional controllers have a limited transient and steady state performance. In this paper, we propose an adaptive dynamic programming U+0028 ADP U+0029 controller with online learning capability to improve transient response and harmonics. The proposed controller works alongside existing proportional integral U+0028 PI U+0029 controllers to efficiently track the reference currents in the d-q domain. It can generate adaptive control actions to compensate the PI controller. The proposed system was simulated under different nonlinear U+0028 three-phase full wave rectifier U+0029 load conditions. The performance of the proposed approach was compared with the traditional approach. We have also included the simulation results without connecting the traditional PI control based power inverter for reference comparison. The online learning based ADP controller not only reduced average total harmonic distortion by 18.41 U+0025, but also outperformed traditional PI controllers during transients. | 68 | 1 | 2017
69 | © Springer Science+Business Media Singapore 2016.This paper deals with mitigation of voltage flicker using an intelligent dynamic voltage restorer (DVR). Voltage flicker is produced in the distribution system due to an arc furnace which is a highly nonlinear load in nature. The control scheme of the proposed DVR is based on a neural network (NN) controller whose weights are trained using hybrid of particle swarm optimization (PSO) and gradient descent (GD). A comparative analysis is done for three different controllers: proportional integral (PI), NN with GD, and NN with hybrid of PSO and GD. Simulated results based on peak overshoot and maximum percentage total harmonic distortion (THD) of load voltage shows the superiority of the proposed NN controller. | 69 | 2 | 2016
70 | © Springer India 2016.Harmonics are developed in the power systems at various stages with the increased role of power electronic converters. Harmonics reduces the quality of power systems results in instability and voltage distortion. Several filtering techniques with different controllers have been proposed earlier for reducing the har- monics, but accurate and fast controllers are needed. This paper presents different intelligent control techniques such as artificial neural network (ANN) and neuro-fuzzy controllers for shunt hybrid active power filter (SHAPF), based on feed forward-type (trained by a back propagation algorithm) ANN and mamdani-type neuro-fuzzy method for mitigating the harmonics in the distribution system. In SHAPF, the active power filters (APF) mainly uses the energy of the capacitor in order to maintain its DC-link bus voltage and thus reduces the time of the transient response when there is abrupt variation in the load. The suggested control tech- niques are usually appropriate for any type of other APF. The proposed control strategies for SHAPF have been constructed in MATLAB/SIMULINK environ- ment. In this paper, simulation results of both the methods are presented, it is observed that there is a considerable reduction in harmonics with both controllers. | 70 | 1 | 2016
71 | © 2019 Elsevier B.V.The current power distribution system involves usage of nonlinear loads that cause power quality problems. Further, the penetration of renewable energy sources is increasing in the power networks to satisfy the consistently rising energy demand, which changes the traditional network plan and control drastically. This paper presents an intelligently controlled hybrid energy system (HES) integrated with shunt active power filter (SAPF) to address the power quality problems. Renewable sources like-Wind, PV and fuel cell (FC) are integrated into HES and are regulated using artificial intelligence techniques that are also implemented for maximum power point tracking (MPPT) in both PV and wind energy systems. The dynamic performance of SAPF is optimized using fuzzy logic, neural network and adaptive neuro-fuzzy inference system (ANFIS) based control algorithms. These controllers provide the smooth DC-link voltage and minimize the total harmonic distortion (THD) produced by the balanced/unbalanced and nonlinear loads. Comparison of these reveal that the ANFIS based algorithm provides minimum THD. The system is tested in real-time using hardware-in-the-loop (HIL) setup. The control schemes are executed on FPGA based OPAL-RT4510computational engine with microsecond step. | 71 | 1 | 2019
72 | © 2017 IEEE.This Paper Simulates the SVC (Static VAR Compensator) and DSTATCOM (Distribution Static Synchronous Compensator) for 4 Bus Radial distribution systems (RDS) to improve voltage stability with higher precision, smaller overshoot and robustness with improved performance. The results are compared with Adaptive Neuro-Fuzzy Inference System (ANFIS) Controller for the effectiveness. Finally, developed a prototype of 4 bus Radial Distribution System (RDS) with shunt connected Distribution Static Synchronous Compensator (DSTATCOM) capable of voltage regulation with Digital Signal Processor TMS320F2812. With the contribution of intelligent operation and Digital control implementation in the RDS, The complexities envisaged by integrating FACTS during smart grid transformation are simplified. Thus, Power quality (PQ) problems like reducing the reactive power and non-linearities such as voltages sags and waveform deformations caused by load fluctuations and harmonics effectively. | 72 | 0 | 2018
73 | © 2018, Copyright © Taylor & Francis Group, LLC.Harmonics generated by nonlinear loads pollute the power system and affect the operation of equipment connected to it. Hence, harmonic mitigation is of prime concern to a power system engineer. Artificial Neural Network (ANN) is a nonlinear signal processing technique, which is built from interconnected elementary processors called neurons. In this article, a Hopfield Neural Network (HNN) based control algorithm for shunt compensator in a power distribution system is realized. The Hopfield network is modeled using energy minimization principle and consists of “n” interconnected neurons. The HNN is used to estimate different harmonic components present in distribution system operating with nonlinear loads. It also provides suitable control signals to the shunt compensator for compensation of various power quality issues such as power factor correction, load balancing, and harmonic reduction in the distribution system. Detailed experimental results are presented along with simulation studies on the prototype model developed in the laboratory and these results demonstrate the feasibility of the proposed method of control in DSTATCOM. The comparison of the HNN-based compensation technique with a popular and effective control algorithm based on Least Means Square (LMS) is also presented in this article. | 73 | 0 | 2018
74 | © 2017 IEEE.In this paper a design of combined operation of Unified Power Quality Conditioner (UPQC) and Wind Energy Conversion System (WECS) is presented to alleviate the power quality problems in distribution system. The integration of wind power into an electric grid encounters the Power Quality (PQ) problems and which will be minimized. The control strategy of UPQC is analyzed with adaptive technique, which is used for Firefly Algorithm (FFA) and Recurrent Neural Network (RNN). To optimize the control pulses to UPQC, FFA is used and the RNN is used to train the optimization parameter. The optimal control pulses are generated by the series and shunt Active Power Filters (APF) based on the source side and load side parameters. This approach is competent to inject the active power to grid in addition to its ability to improve the PQ in distribution system. The performance of the proposed FFA based UPQC system is validated through simulations using MATLAB/SIMULINK and compared with the existing techniques such as ANFIS support UPQC and GA support UPQC. | 74 | 3 | 2017
75 | © 2016 Taylor & Francis Group, LLC.A three-phase four-wire active power filter is proposed in this article that consists of a three-phase three-wire active power filter, zero-sequence transformer, and single-phase active power filter. The reference current for tracking the desired source current is based on the neural network (constraint anti-Hebbian rule algorithm). The three-phase three-wire active power filter compensates current harmonics and reactive power requirement of the non-linear load. A zero-sequence transformer and single-phase active power filter are used to mitigate the neutral current. The proposed hybrid scheme (three-phase four-wire active power filter) significantly reduces the volt–ampere rating of the active power filter and improves the performance under different utility voltage conditions. The simulation of the proposed three-phase four-wire active active power filter is carried out for different voltage conditions. Further, the MATLAB-simulated (The MathWorks, Natick, Massachusetts, USA) response of the three-phase four-wire active active power filter has been validated on a prototype of the three-phase four-wire active-active power filter. The experimental result obtained from the prototype verifies the effectiveness and viability of the proposed scheme. | 75 | 1 | 2016
76 | © 2016 IEEE.Nowadays one of major power system problems is inadequacy of Power Quality (PQ) due to increased use of nonlinear loads and power electronic devices in industries. In this paper, Distributed STATCOM is proposed with Four-leg inverter to compensate the neutral current, harmonics and load balancing under unbalanced load conditions and nonlinear load in Distributed system. For controlling of four leg DSTATCOM instantaneous reactive power (IRP) theory is proposed. For DC link voltage regulation of DSTATCOM optimized PI controller and Adaptive Neuro Fuzzy Inferences System (ANFIS) controller are used. Comparison with ANFIS controlled DSTATCOM with Traditional conventional methods also investigates in this paper. The performance of proposed modeled is analyzed with MATLAB/SIMULINK Software. | 76 | 0 | 2016
77 | © The Institution of Engineering and Technology 2019This study presents a scheme for improvement of power quality in electrical distribution systems using a static VAr compensator (SVC). The switching of the SVC has been controlled with an objective to improve the overall power quality at the distribution level. The reduction of the degree of unbalance and improvement of power factor along with minimisation of harmonics injected into the system due to the operation of SVC are identified as the objectives of the SVC switching scheme. The proposed scheme can minimise a wider range of harmonics injected into the system without any external filter. The optimised switching angles have been calculated using the particle swarm optimisation technique. An artificial neural network has been designed to predict the optimum triggering angles and the performance of the scheme for fast changing loads has been evaluated in the laboratory using a data acquisition system. Practical evaluation of power quality has been carried out at each stage of simulation and experimentation to highlight the effectiveness of the proposed scheme. The results obtained from the proposed scheme have been compared with other recent works to prove the efficacy of the system. | 77 | 0 | 2019
78 | IEEEControl of electronically-coupled distributed energy resources and topology/switching strategy of power converters have the essential roles to provide high quality power for microgrids including unbalanced and nonlinear loads. Multi-level inverters (MLIs) are used to act as high quality converters with more conversion efficiency, and less switching-frequency/switching-losses. Nevertheless their nonlinearity, complexity, and solvability features of selective harmonic elimination strategy that has affected its industrial applications, it can provide desirable output waveform by keeping fundamental component in its desired value as well as eliminating/minimizing of low-order harmonics. This paper presents adaptive neuro-fuzzy inference system (ANFIS) as a switching angle estimator for harmonic optimization problem in cascade MLIs, which is trained based on the database including optimal switching angles obtained for inverter with non-equal DC sources by artificial bee colony (ABC) algorithm. The reliable search ability, accuracy and convergence time of ABC have been compared with particle swarm optimization algorithm. Also, performance of ANFIS is compared with artificial neural network based on correlation coefficient and root mean square error. Simulation results, experimental tests and real-time simulations reveals the effectiveness of proposed estimator for online elimination of low-order harmonics of MLIs in microgrids and its superiority over other methods. | 78 | 1 | 2019
79 | © The Institution of Engineering and Technology.This study presents a new concept to control a distribution static compensator (DSTATCOM) based on generalised neural network in a three-phase power distribution system. Artificial neural network (ANN)-based controllers play the vital role in the performance improvement of DSTATCOM. However, their application is limited by the increase in complexity as well as the computational time. The proposed generalised neural network algorithm is a combination of Gaussian, sigmoidal and linear transfer functions within a layer to improve the DSTATCOM control strategy. This algorithm estimates the amplitude of the wattful and wattless current components of the load currents for harmonics elimination and reactive power compensation by the DSTATCOM. The algorithm is developed in MATLAB. The case studies validate its superiority over ANN-based control algorithms. The proposed method needs a less number of training patterns and unknown weights compared to other algorithms which reduces the complexity and the computational time. It also improves the performance of DSTATCOM estimating the weights and its learning online which is of the main merits of this algorithm. Its other inherent advantages are ease in design, robustness and its adaptivity with dynamics of load at utility end. | 79 | 0 | 2017
80 | © 2016, School of Electrical Engineering and Informatics. All rights reserved.Minimization of Total Harmonic Distortion (MTHD) for the line-to-line output voltage of multilevel inverters has been studied in this work. Harmony Search (HS) Algorithm with artificial neural networks (ANN) has been employed to solve the aforementioned problem with considering constant and alterable DC sources in order to minimize Total Harmonic Distortion more efficiently. The nearest solutions provided by HSA obtain a smooth data set that is desired for the neural network training. MTHD is suitable for some cases, e.g. multilevel electrical drives and flexible AC transmission system devices such as multilevel static VAR compensator, multilevel unified power quality conditioner and multilevel unified power flow controller, where DC link voltages are altering. MTHD not only optimizes the switching angles, also finds the optimum values for DC links. In this work THD minimization with employing both constant and alterable DC sources has been researched and compared with each other. Also a comparison is made with a recently published paper using GA, which validates that the proposed scheme is more efficient in this regard. Numerical results for a test case, seven-level inverter, reveal that the presented method is feasible. | 80 | 1 | 2016
81 | © 2015 Faculty of Engineering, Ain Shams University. Production and hosting by Elsevier B.V.In this paper, an artificial neural network (ANN) based one cycle control (OCC) strategy is proposed for the DSTATCOM shunted across the load in three phase four wire distribution system. The proposed control strategy mitigates harmonic/reactive currents, ensures balanced and sinusoidal source current from the supply mains that are nearly in phase with the supply voltage and compensates neutral current under varying source and load conditions. The proposed control strategy is superior over conventional methods as it eliminates, the sensors needed for sensing load current and coupling inductor current, in addition to the multipliers and the calculation of reference currents. ANN controllers are implemented to maintain voltage across the capacitor and as a compensator to compensate neutral current. The DSTATCOM performance is validated for all possible conditions of source and load by simulation using MATLAB software and simulation results prove the efficacy of the proposed control over conventional control strategy. | 81 | 0 | 2016
82 | © 2003-2010 IEEE.Distribution static compensator (DSTATCOM) is the optimal choice of power quality (PQ) compensator in a three-phase four-wire distribution system for the mitigation of PQ problems. The performance of the PQ compensator under varying load and nonideal source conditions relies on the control strategy. A neural network-based p-q control algorithm is proposed in this paper for the DSTATCOM, which comprises of a four-leg voltage-source converter with a dc capacitor. The proposed control strategy implements five artificial neural network controllers for, the conversion of nonideal voltage source into ideal sinusoidal voltage, the extraction of dc component $\overline p $ of load real power supplied to the load, maintenance of the voltage across the capacitor, and mitigation of neutral current. The performance of the proposed neural network-based p-q control strategy for DSTATCOM is evaluated under various possible source and load conditions by simulating in MATLAB/Simulink environment, and the results obtained through the simulation are validated experimentally by a prototype developed in the laboratory. Both the experimental and simulation results prove that the performance of the proposed neural network-based control strategy is superior to the conventional method. | 82 | 0 | 2015
83 | © 2014 IEEE.This paper focuses on an Artificial Neural Network (ANN) controller based Shunt Hybrid Active Power Filter (SHAPF) for compensating the harmonics of the distribution system. To enhance the performance of the conventional controller (Hysteresis controller) and to take advantage of intelligent controllers, a back propagation algorithm based feed forward-type ANN technique is implemented in shunt active power filter for producing the controlled pulses required for IGBT inverter. The proposed approach mainly work on the principle of energy stored by capacitor to maintain the DC link voltage of a shunt connected filter and thus reduces the transient response time when there is abrupt variation in the load. The complete power system set model of the proposed filter technique has been developed in MATLAB. The control algorithm developed is very simple. Simulations are carried out for the proposed scheme by using MATLAB, it is noticed that the %THD is reduced to 2.27% from 29.71% by ANN controlled filter. The simulated experimental results also show that the novel control method is not only easy to be computed and implemented, but also very successful in reducing harmonics. | 83 | 1 | 2015
84 | For mitigation of power quality problems in a distribution system, it is important to estimate effecting factors which are responsible for their origin. Main objectives of neural network application in Distribution Static Compensator (DSTATCOM) are to enhance the efficiency, robustness, tracking capability according to requirements. A control algorithm based on load conductance estimation using the neural network is implemented for DSTATCOM in a four wire distribution system. The proposed control algorithm is used for extraction of load fundamental conductance and susceptance components of distorted load currents. It is implementated for mitigation of power quality problems such as reactive power compensation, harmonics elimination, load balancing and reduction of neutral current under linear/nonlinear loads. Test results on a developed DSTATCOM have shown the acceptable level of performance under balanced and unbalanced loads. © 2005-2012 IEEE. | 84 | 0 | 2014
85 | Reactive power compensation is an important issue in the control of electric power system. Reactive power from the source increases the transmission losses and reduces the power transmission capability of the transmission lines. Moreover, reactive power should not be transmitted through the transmission line to a longer distance. Hence Flexible AC Transmission Systems (FACTS) devices such as static compensator (STATCOM) unified power flow controller (UPFC) and static volt-ampere compensator (SVC) are used to alleviate these problems. In this paper, a voltage source converter (VSC) based STATCOM is developed with PI and Artificial Neural Network Controller (ANNC). The conventional PI controller has more tuning difficulties while the system parameter changes, whereas a trained neural network requires less computation time. The ANNC has the ability to generalize and can interpolate in between the training data. The ANNC designed was tested on a 75 V, ±3KVAR STATCOM in real time environment via state-of-the-art of digital signal processor advanced control engineering (dSPACE) DS1104 board and it was found that it was producing better results than the PI controller. © 2013 Elsevier B.V. | 85 | 0 | 2013
86 | In ac/ac converter applications, the matrix converter has become increasingly attractive in recent years. The matrix converter is a single stage converter. It does not require any dc-link energy storage component. So, the structure only requires small mounting place because the braking resistance or regeneration converter is unnecessary. In addition, it has a high-power-factor sinusoidal input current with a bidirectional power flow for the whole matrix converter control system. In this paper, the matrix converter is used to drive a PMSM servo motor. A sliding mode with a neural network controller design is proposed to improve the performance of the matrix converter-PMSM drive system. By using this scheme, the chattering of the speed is improved. In addition, the drive system has a better disturbance rejection capability and a fast speed response. All the control loops, including the switching strategy, current-loop, and control law, are implemented by TMS320LF2407A digital signal processor. The hardware circuit is very simple. Several experimental results are shown to validate the theoretical analysis. © 2009 IEEE. | 86 | 3 | 2009
87 | This paper presents a novel harmonic-free power factor correction (PFC) topology based on T-type active power filter (APF), which is dedicated for power factor improvement and harmonic filtering for six-pulse converter loads. The cascaded controller structure is adopted for the proposed system, namely, the inner current loop and outer voltage loop. The current-loop control scheme is based on a decoupled state-space equations of the T-type APF using separate proportional-integral (PI) controllers in d-axis and q-axis of the synchronous rotating reference frame (SRRF) synchronized with grid voltages, respectively. The fundamental components of load-side currents are feed forwarded in the current-loop using two groups of synchronous frame adaptive linear neural networks (ADALINEs) to ensure estimation accuracy and a fast dynamic response. A separate proportional-integral (PI) controller is adopted in the outer voltage loop for balancing the active power flow of the voltage source inverter (VSI) dc-side capacitor. The experimental results confirm well with the theoretical analysis. | 87 | 1 | 2009
88 | This paper presents a method which is combined by sequential neural-network approximation and orthogonal arrays (SNAOA) for reducing harmonic distortion with passive harmonic filters and determining the optimal locations for harmonic filters among existent capacitor busses in the power network. An orthogonal array is first conducted to obtain the initial solution set. The set is then treated as the initial training sample. Next, a back-propagation sequential neural network is trained to simulate the feasible domain for seeking the optimal filter design. A restart strategy is also incorporated into the SNAOA so that the searching process may have a better opportunity to reach a near global optimum solution. In order to determine a set of weights of objective function to represent the relative importance of each term, the simplest and most efficient form of triangular membership functions has been considered. To illustrate the performance of the SNAOA, a practical harmonic mitigation problem in a 36-bus radial distribution system is studied. The results show that the SNAOA performs better than the original scheme and satisfies the harmonic limitations with respect to the objective of minimizing total harmonic distortion of voltages and the cost of commercially available discrete sizes for sitting and sizing passive harmonic filters. © 2008 Elsevier Ltd. All rights reserved. | 88 | 1 | 2009
89 | A novel harmonic-free power factor correction (PFC) topology based on T-type active power filter (APF) is proposed in this paper. The proposed system has better stability characteristics compared to conventional shunt APF topologies and it is a natural filter for the non-linear load harmonic disturbances. The tuned passive filters are connected at the ac-side of the rectifier load, which are designed to provide fundamental reactive power compensation and eliminate majority of load harmonics in order to minimize the power rating and heat dissipation of the voltage source inverter (VSI). The control scheme is based on a decoupled state-space equations of the T-type APF using separate proportional-integral controllers in d-axis and q-axis of rotating reference frame synchronized with grid voltages, respectively. The fundamental components of load-side currents are feed-forwarded in the current control loop using two groups of synchronous frame adaptive linear neural networks (ADALINEs) to ensure a fast dynamic response. A proportional-integral controller is adopted in the outer voltage loop for balancing the active power flow of the dc-side capacitor of the VSI. The proposed power factor corrector topology is studied analytically and by simulation under various scenarios using Matlab/Simulink. The validity and effectiveness of the proposed topology as well as its control schemes are substantially confirmed by the simulation results. © 2008 Elsevier B.V. All rights reserved. | 89 | 1 | 2008
90 | This paper presents an implementation of a PWM single-phase switched rectifier controlled by a continually online-trained artificial neural network (COT-ANN). The stability of the COT-ANN training is ensured by using a suitable description of the switched rectifier and a Lyapunov-based training algorithm. The stability of the neural network is verified using a norm metric of the ANN matrix weights. The proposed switched rectifier can reverse the power flow direction while attaining power factor regulation. Simulations are used to test the validity of the proposed algorithm and the results are finally verified by a practical implementation of this system. Copyright © 2007 John Wiley & Sons, Ltd. | 90 | 3 | 2008
91 | To maintain the customer voltage profile within a specified region is very important when a dispersed generation system (DGS) is connected to a power distribution system. This paper presents an approach based on an artificial neural network (ANN) combined with a fuzzy system to solve the coordination control problem in a distribution system with DGS. The main purpose is to find the proper tap position for the main transformer under load tap changer (ULTC) and reactive power outputs for the static var compensator (SVC) and DGS, i.e., using the proposed approach to design a coordination controller, such that the reactive power flow through the main transformer can be restrained and voltage profiles on the buses improved. To reduce the repair cost for the main transformer ULTC, the number of operating ULTCs must be minimized. The constraints that must be considered include the voltage limits on the secondary bus and DGS bus, and the reactive power output limits for the SVC and DGS. To demonstrate the usefulness of the proposed coordination control scheme based on the ANN and fuzzy system, a simplified distribution system is performed. The results show that a proper coordination can be reached using the proposed approach. | 91 | 0 | 2007
92 | © 2000 IEEE.A power system, constituting a distribution system, nonlinear consumer loads and hybrid power compensators, is a complex system characterised by changing line impedances and load and generator conditions. The use of sophisticated control techniques in these systems is becoming very important, necessitating the need for accurate system modelling, that is software compatible with design programs for artificial intelligence based controllers. This paper focuses on the development of a comprehensive state space model with 64 states to serve as a time domain analysis platform for hybrid power filter control and related problems. A typical scenario comprising 2 generators, 4 transformer substations and 3 consumers with interconnecting lines, is modelled. Each consumer has a hybrid power compensator constituting a static VAr compensator and a PWM-converter based compensator associated with it. The stability and accuracy of the discrete state space model is also analysed in the paper. Results from the model are compared to actual measurements on distorted conditions in industrial networks, and shown to correspond extremely well, also for hybrid compensator operation. The compatibility with artificial neural network software is illustrated. The model is unique because of its scale and the level of diversity in terms of power system problem solving. | 92 | 0 | 2000
93 | © 2015 IEEE.This paper presents a new moveable power quality (PQ) conditioner named convertible active power filter (CAPF) which aims to compensate for current quality (CQ) problems in the industrial, commercial or residential areas. The proposed CAPF has the capability and flexibility to change its compensation mode from load-To-load based on the variations of the load characteristics. This is absolutely necessary in distribution systems because the behavior of the consumer appliances varies continuously. The proposed controller algorithm which is based on the adaptive neural network (ADLINE) and fuzzy logic controller (FLC) is responsible for monitoring the CQ of each load and invoking the CAPF to start the compensation job by connecting the voltage source converter (VSC) based CAPF automatically to the corresponding load based on the total harmonic distortion (THD) of each load, sensitivity of the load to the CQ problems or changes in the load conditions. Power system electromagnetic transient simulation program (PSCAD/EMTDC) is used to simulate the CAPF, the simulation results showed that the proposed CAPF is capable to change its compensation mode from load-To-load to improve the PQ of the selected load based on the existence of CQ problems in the system or change in the load conditions. | 93 | 1 | 2015
94 | © 2014 IEEE.An application of artificial intelligence is presented in solving power quality problems using a distribution static compensator (DSTATCOM) in the distribution system involving lagging pf loads. A set of three nonlinear neurons is used to obtain the three phase compensating currents. Another set of three layered feed-forward neural network controls the compensating currents. The developed model works accurately under varying load conditions and provides good dynamic response to the step changes in the load currents. A real time performance is achieved using SIMULINKR/Sim-powersystem (SPS) toolboxes and simulated results adhere to the IEEE-519 standard for improvement of power quality. | 94 | 0 | 2015
95 | © 2014 Hydrogen Energy Publications, LLC. All rights reserved.One of the major problems in electrical power system is the lack of quality of power due to the rapid growth of nonlinear load and unbalanced load utilization in three-phase four-wire distribution system. In this paper, PEM (Proton Exchange Membrane) fuel cell supported four-leg Distribution Static Compensator (DSTATCOM) is modelled to mitigate harmonics, neutral current and load balancing under nonlinear load and unbalanced load conditions in three-phase four-wire distribution system. The instantaneous reactive power (IRP) theory control algorithm is proposed for four-leg DSTATCOM. The Real coded Genetic Algorithm (RGA) optimized Proportional Integral (PI) controller and Adaptive Neuro Fuzzy Inference System (ANFIS) controller are used for regulating the DC link voltage of DSTATCOM. This paper also investigates the performance of ANFIS based DSTATCOM with conventional method. The proposed system is modelled and its performance is analyzed in MATLAB/SIMULINK. | 95 | 0 | 2014
96 | Power distribution system installed with D-STATCOM (Distribution Static Synchronous Compensator) is a large-scale nonlinear, multivariable system. The traditional PI controller is not content to modern control requirement because of its fixation parameters. In this paper, node voltage control strategy of D-STATCOM based on self-adaptive PI controller with neural network is proposed, and the controller structure is designed. In dynamic process, PI parameters of the node voltage controller are on-line adjusted with neural networks. Thus, this controller is good at robustness and adaptability. The simulation model of the control system is built in the MATLAB dynamic simulation platform, based on which the regulating process of note voltage is simulated. The result verified the adaptability and feasibility of the proposed control strategy © 2012 IEEE. | 96 | 0 | 2012
97 | This paper explores the application of artificial intelligence on solving the power quality problems by using the shunt active power filter strategy for three phase three wire distribution system. The unit vector template generation control technique is modeled as current controller for the shunt active power filter strategy. The proportional and integral (PI) controller is designed to minimize error between the actual and the reference DC voltage of shunt active power filter strategy. The transient period and peak overshoot of DC bus voltage using a PI controller is observed to be higher in initial and load change conditions. The artificial neural network is a powerful tool used to generate the current signal with very low oscillation and faster settling time. In this paper, a new neural learning algorithm (NAL) is proposed for the current controller of the shunt active power filter strategy. The performance of the proposed neural learning algorithm is extensively analyzed of diode rectifier RL non linear load with respect to two different operating conditions. The proposed system is designed with MATLAB/Simulink environment. © 2011 IEEE. | 97 | 1 | 2011
98 | Electrical distribution system suffers from various problems, such as reactive power burden, unbalanced loading, voltage regulation, and harmonic distortion. Though DSTATCOMS are ideal solutions for these systems, they can be costly and have complexity compared to other reactive power compensation solutions. Phasewise-balanced reactive power compensations are required for fast-changing loads needing dynamic power factor correcting devices leading to terminal voltage stabilization. Static var compensators (SVCs) are preferred for these loads due to low cost and simple control strategy. These SVCs, while correcting power factor, inherently create harmonics due to the nonsinusoidal currents caused by the operation of thyristor-controlled reactors. This paper proposes minimizing the harmonics injected into the distribution systems with the operation of TSC-TCR-type SVC used in conjunction with fast-changing loads at the LV distribution level. The fuzzy logic system and ANNare used to solve this nonlinear problem, giving optimum triggering delay angles used to trigger thyristors in TCR. The scheme is attractive and can be used at SVC installations in distribution systems for steady-state reactive power compensation. © 2010 IEEE. | 98 | 0 | 2010
99 | With the use of nonlinear loads increasing rapidly, which inject undesired harmonic currents into power distribution systems, Shunt Active power filters (SAF) are being considered as a potential candidate for solving harmonic problems in order to meet harmonic standards and guidelines. This paper presents a new digital signal processor (DSP)-based control method for a three-phase Shunt Active Power Filter. Compared to conventional analog-based methods, the DSP-based solution provides a flexible and cheaper method to control the SAF. The proposed control method for determining the reference compensating currents of the three-phase shunt active power filters based on artificial neural network (ANN) is presented. Finally, the simulation and experimental result also shows that both controller techniques can reduce harmonics in three-phase electric systems drawn by nonlinear loads and reduce hardware components. © 2009 IEEE. | 99 | 1 | 2009
100 | Electrical distribution system suffers from various problems like reactive power burden, unbalanced loading, voltage regulation and harmonic distortion. Though DSTATCOMS are ideal solutions for such systems, they are not popular because of the cost and complexity of control involved. Phase wise balanced reactive power compensations are required for fast changing loads needing dynamic power factor correcting devices leading to terminal voltage stabilization. Static Var Compensators (SVCs) remain ideal choice for such loads in practice due to low cost and simple control strategy. These SVCs, while correcting power factor, inject harmonics into the lines causing serious concerns about quality of the distribution line supplies at PCC. This paper proposes to minimize the harmonics injected into the distribution systems by the operation of TSC-TCR type SVC used in conjunction with fast changing loads at LV distribution level. Fuzzy logic system and ANN is used to solve this nonlinear problem, giving optimum triggering delay angles used to trigger switches in TCR. The scheme with Artificial Neural Network (ANN) is attractive and can be used at distribution level where load harmonics are within limits. © 2008 IEEE. | 100 | 0 | 2008
101 | This paper presents the design of a harmonic source detection system with a cascade correlation network (CCN). Current-injection-based harmonic power flow was used to calculate bus voltages and total harmonic distortion (THD). THD of voltages is used as indices for meter placement in the power network. At metering buses, it shows that the harmonic components of voltages under various loads would form particular patterns in the frequency domain, and can be used to create training examples for CCN. Good meter planning is helpful to reduce the number of meters and training examples. With an IEEE 14-bus power system, computer simulations were conducted to show the effectiveness of the proposed system. © 2005 IEEE. | 101 | 1 | 2005
102 | This paper presents a new control design of shunt and series active filters for harmonic compensation in a power distribution system. The topology of the active filter is based on a 3-phase pulse width modulated (PWM) voltage source inverter (VSI) and a control circuit. The control circuit using two neural network controllers is proposed. One adaptive neural network (NN) controller is designed to estimate the harmonic components of the distorted load current and supply voltage. Another neural network controller that uses Levenberg-Marquardt backpropagation (LMBP) for its training is designed to generate accurate switch control signals for the PWM VSI. The resultant series active filter also has the capability to compensate for voltage sags in the distorted supply voltage. A power factor correction function is incorporated in the shunt active filter to achieve a power factor that is near to unity. Simulation results show that the active filters with neural network control can significantly reduce harmonic distortion in the load current and supply voltage and can adapt to variations in system operating conditions. © 2004 Elsevier B.V. All rights reserved. | 102 | 1 | 2005
103 | This paper describes the application of a solid-oxide fuel cell for compensation of distribution system voltage. A grid-connected fuel-cell plant consists of the fuel cell and the voltage-source inverter. The flux-vector control is used very effectively for the control of this inverter, where the space-vector pulsewidth modulation is implemented by artificial neural networks. Comprehensive results are presented to assess the performance of this device to alleviate power quality problems present on the ac grid. © 2003 IEEE. | 103 | 0 | 2003
104 | © Springer India 2015.The major power quality issues are voltage sag, voltage swell and voltage harmonics in distribution system. These power quality issues are solved by custom power conditioning devices such as Dynamic Voltage Restorer (DVR), Distributed Static Compensator (DSTATCOM) and Unified Power Quality Conditioner (UPQC). This paper presents the ability of Unified Power Quality Conditioner to mitigate voltage sag, voltage swell and voltage harmonics in distribution system. UPQC is modeled in MATLAB_SIMULINK environment with Fuzzy Logic (FL), Neural Network (NN) controllers. The performances of UPQC with two controllers are compared. | 104 | 2 | 2015
105 | In this paper, an efficient active power filter (APF) scheme is developed to estimate and compensate for harmonic distortion in an electrical power network. The developed APF control scheme is based on a double proportional feedback controller and a single-phase voltage-source half-wave bridge inverter. The proposed filter uses a Multi-layer Artificial Neural Network (ML-ANN) with a shift method for estimating system harmonic currents and voltages at a dedicated point. The proposed scheme is tested on a 13 bus industrial distribution system. The obtained results ensure the effectiveness of the proposed filter. The system is simulated in MATLAB-Simulink and simulation results prove that the polluting harmonics have been greatly reduced. © 2011 Ain Shams University. Production and hosting by Elsevier B.V. All rights reserved. | 105 | 1 | 2011
106 | In this paper, a neural network controlled DSTATCOM (Distribution Static Compensator) using dSPACE processor is implemented for power quality improvement in a three-phase four-wire distribution system. A three-leg VSC (Voltage Source Converter) based DSTATCOM with a zig-zag transformer is used for the compensation of reactive power for voltage regulation or for power factor correction along with load balancing, elimination of harmonics currents and neutral current compensation at the point of common coupling (PCC). The Adaline (adaptive linear element) based neural network is used to implement the control scheme of the VSC. This technique gives similar performance as that of other control techniques, but it is simple to implement and has a fast response and gives nearly zero phase shift. The zig-zag transformer is used for providing a path to the zero sequence current in a three-phase four-wire distribution system. This reduces the complexity and also cost of the DSTATCOM system. The performance of the proposed DSTATCOM system is validated through simulations using MATLAB software with its Simulink and Power System Blockset (PSB) toolboxes and hardware implementation. © 2009 IEEE. | 106 | 0 | 2009
107 | A novel power factor corrector (PFC) topology based on T-type active power filter (APF) is proposed in this paper. The control scheme is based on a decoupled state-space equations of the T-type APF using proportional-integral (PI) controllers in the synchronous reference frame. The fundamental components of load currents are feed-forwarded in the current-loop controller by using synchronous frame adaptive linear neural networks to ensure a fast dynamic response. A separate PI controller is adopted in the outer voltage-loop for balancing the active power flow of the APF DC-side capacitor. The simulation and experimental results are presented, which demonstrate the validity and effectiveness of the proposed system. © Institution of Engineers Australia, 2009. | 107 | 1 | 2009
108 | This paper compares different variants of the least mean squares (LMS) algorithm. The objective consists in finding the best compromise between on-line learning and computational costs. Indeed, an algorithm with low computational complexity for updating Adalines weights is required for a real-time implementation of a modular neural Active Power Filter (APF). This filtering scheme is inserted in an electric distribution system to identify and compensate for harmonic distortions. Adaline learning schemes are used in two neural APF frameworks. The first one is a neural approach of the Instantaneous Power Theory (IPT) where the instantaneous powers are decomposed in a linear manner and are learned on-line with Adalines. The second one is a neural diphase currents method based on the DQ-currents which are linearly decomposed and learned with Adalines. The overall complexity of the neural frameworks is evaluated in terms of basic operators such as adders, multipliers, and signum functions. Simulation and experimental results demonstrate the applicability of neural approaches for the control of APF frameworks for power quality improvement. The complexity of the neural APF frameworks are equivalent than methods based on the conventional Instantaneous Power Theory (IPT), while their performances are superior. © 2008 IEEE. | 108 | 1 | 2008
109 | This paper presents a new harmonic currents identification method called Neural Synchronous Method and based on artificial neural networks. Its theoretical aspect relies on a new decomposition of the load current signals. Adaline neural networks are used in order to learn this decomposition on-line; the fundamental currents can therefore be estimated at each sampling time. The fundamental currents are then synchronized with the direct component of the voltage obtained by a PLL (Phase Locked Loop). The harmonic currents are deduced and re-injected phase-opposite in the power distribution system through an active power filtering scheme. This harmonic currents identification method is compared to other similar methods by simulation results. © 2008 IEEE. | 109 | 1 | 2008
110 | This paper deals with special active power line conditioner (APLC), which is based, the same as UPQC, on integration of series and shunt power converters sharing a common DC link. In this paper the main purpose of the shunt inverter is to compensate the reactive power and current harmonics caused by nonlinear load. In addition, a simple structure feed forward neural network is presented for the separate of harmonic current components in nonlinear current load. It is known that loss reduction can be proposed in the parallel paths and also parallel transformers too. The aim of series power converter of APLC is to control power flow in order to reduce losses of distribution system, suggested APLC not only performs the functions of UPQC but also can effectively reduce power losses in parallel paths. Simulation results, carried out by PSCAD/EMTDC, show that the proposed strategy using adaptive neural network can effectively reduce power losses and eliminate harmonic currents for sensitive nonlinear loads. © 2006 IEEE. | 110 | 3 | 2007
111 | Active power filters (APFs) have been used to compensate harmonics, reactive current, and negative sequence fundamental frequency current drawn by nonlinear loads. The control of APF is the core issue for their proper operation. The flexibility of selective compensation embedded in the control scheme makes APF versatile for compensation of reactive power, harmonic currents, and unbalance in source currents and their combinations, depending upon the limited rating of voltage source inverter employed as APF. The proposed scheme utilizes neural network-based decomposition of the load current into positive and negative sequence fundamental frequency component, reactive component and harmonic components. The adaline-based current decomposer estimates the reference currents through tracking of unit vectors together with tuning of the weights. The implementation of the control scheme facilitates selective compensation which respects the limited rating of the APF. The simulated results using developed MATLAB model are presented and are validated by experimental results to depict the effectiveness of the proposed control method of APF. © 2007 IEEE. | 111 | 1 | 2007
112 | This paper presents a DSTATCOM controlled by a neural network based reference current extractor (NNREC) and rating reduction by use of shunt connected capacitor bank for three-phase three-wire system. The working of DSTATCOM with self supported dc bus is used in two different modes; one is, unity power factor (UPF) mode and second is, zero voltage regulation (ZVR) mode. The heart of the control of DSTATCOM is the derivation of reference currents, which decide the switching of three legs of voltage source inverter (VSI) used in DSTATCOM. The NNRCE is used for control of DSTATCOM, which operates on LMS algorithm. The real positive sequence current component of current is extracted using NNRCE without any phase shift. A PI controller is used to regulate the voltage across the capacitor connected at the dc bus of the VSI. In the ac voltage regulation mode, second PI controller is used to maintain the constant voltage at PCC with variation of load. To reduce the rating of DSTATCOM, an ac capacitor bank of almost half rating of the VAR required is connected at the load end. The simulations are carried out in MATLAB environment for unity power factor operation and ac voltage regulation through leading power factor operation. Simulation results verify the effectiveness of the DSTATCOM system to meet the requirements of distribution system © 2005 IEEE. | 112 | 0 | 2005
113 | This paper presents a method of combined sequential neural-network approximation and orthogonal array in the planning of passive harmonic filters. The purpose is to find the optimal locations for harmonic filters among existent capacitor. An Orthogonal array is conducted to obtain the initial solution set for optimization. Then a back-propagation sequential neural network is trained to simulate the feasible domain for the optimal point. The purposes are to minimize the total harmonic distortion of voltages while satisfying harmonic standards. The proposed method was test on an 36-bus radial distribution system. Results obtained show that the proposed method is suitable for siting and sizing passive harmonic filters. © 2005 IEEE. | 113 | 1 | 2005
114 | Neural networks have been known to be good function approximates. They are particularly effective in dealing with non-linear relationships between parameters. This feature is exploited in this paper to propose a new method for the problem of measuring harmonic current injected into a power system network by a non-linear load without disconnecting the load from the network. This work is particularly useful in determining whether the utility or the customer side has a higher contribution to harmonic pollution in a network. Hence this method would be helpful in settling utility-customer disputes over who is responsible for harmonic distortions. The main advantage of this method is that only waveforms of voltages and currents have to be measured. A neural network structure with memory is used to identify or learn the non-linear load admittance of a load. Once it has learned the admittance, the neural network predicts the true harmonic current of the load when supplied with a clean sine wave. This method is applicable for both single and three phase loads. This could be fabricated into a commercial instrument that could be installed in substations of large customer loads, or used as a hand-held clip on instrument. © 2005 IEEE. | 114 | 1 | 2005