## Sheet1
Column1 | Document | ID | Topic | Date
0 | © The Institution of Engineering and Technology 2017.Conventional relays, such as vector surge relay, frequency relay and rate-of-change-of-frequency relay, are usually employed for islanding detection; however, these conventional relays fail to detect islanding incidents in the presence of small power imbalance inside the islanded system. This study presents an islanding detection approach for synchronous type distributed generation using multiple features extracted from network variables and a support vector machine (SVM) classifier. Features are extracted from a sliding temporal window, whose width is selected so as to achieve the highest detection rate at a fixed false alarm rate. The SVM classifier is trained with linear, polynomial and Gaussian radial basis function kernels, and the parameters of the kernels are tuned to improve the classification performance. The application of the proposed method is illustrated for islanding cases associated with different power imbalance conditions, including small power imbalance conditions associated with the non-detection zone of conventional relays. Furthermore, variation of detection time as a function of power imbalance scenarios, which involve all probable combinations of deficit of active/reactive and excess of active/reactive power imbalance, is assessed in the testing phase. The performance of the proposed approach is evaluated and compared with those of conventional relays in terms of reliability and response time of islanding detection. | 0 | 1 | 2017
1 | © 2021The renewable-based distributed energy resources (R-DERs) are extensively used in the smart distribution systems. Despite the advantages of the R-DER, they also introduce some operational challenges such as the unintentional islanding, reverse power flow, and several protection issues. Due to the unpredictable faults, an island or multiple islands can be formed throughout the electrical power systems. The island may have R-DER that shall be tripped within 2 s of the islanding formation as per IEEE 1547 and hence the islanding must be detected. This paper introduces a passive islanding detection approach that uses deep learning combined with the continuous wavelet transform and hence no need for identifying the islanding features a priori as in the existing islanding detection approaches. The numerical examples demonstrating the effectiveness of the proposed approach are presented and the conclusion is drawn. | 1 | 3 | 2021
2 | © 2022 Scrivener Publishing LLC.Electricity grids are getting smarter day by day and simultaneously the importance of distributed generations (DGs) is increasing. The concept of DG has taken the power industry to a new height in terms of improved reliability and continuity. Integration of DGs has reduced dependency on main grid supply as they are sources of energy in a micro-grid and have the capacity to cater to the loads. However, as the penetration of these DGs has increased in energy system, various challenging uncertainties have evolved that are very different in nature from previously known traditional uncertainties. Among various types of modern uncertainties in smart grids, primary one is unintentional islanding of grids. It happens when the DGs continue to feed some portion of the load even after being disconnected from the main grid. Unintentional islanding comes with a large number of threats. Thus, it is very critical to detect the unintentional island incidents. The traditional methods used for island detections involves measurement of various parameters like voltage, frequency, etc. or the effect of injecting some intentional disturbances and analyzing the effects. The island cases are then identified by comparing the measured values with a threshold. However, the setting of the threshold value is difficult because, if the value is less sensitive, the detection will not occur very accurately. However, if a highly sensitive value of threshold is set, it will cause false detection. So an appropriate tool is required to attain high sensitivity and also high accuracy. Thus, the island detection researchers incorporated artificial intelligence and machine learning techniques, which help in fulfilling this task effectively. | 2 | 0 | 2022
3 | © 2016 Elsevier LtdThe centralized generation based model of power delivery remains inefficient due to unavoidable losses and limited reach of the related infrastructure to penetrate into inaccessible areas. Distributed generation based on cleaner sources like wind, solar, biomass etc. can provide energy access to all in a standalone configuration called microgrid. However such distributed generators can also be interfaced with the utility grid and support power flow and ensure supply to connected consumers during utility outages. Grid availability impacted by its vulnerability to extreme events is a major issue affecting wide-spread deployment of such systems. The paper gives an account of major computational intelligence based techniques addressing the problem of islanding in power grids having renewable energy based distributed generators connected to them. The various methods reported have been analyzed in terms of their working methodologies, tools used, accuracy, speed and other relevant aspects. In light of the current state of the art and a need to add more resiliency to the operation of grid-connected distributed generation systems, a new prospect, with preliminary results, will be discussed to address the issue of islanding that can be applied as an effective strategy by utilities to ensure smoother operation of the power grid. | 3 | 0 | 2017
4 | © 2021This paper proposes a methodology to identify the decision of microgrid islanding. This methodology is two stages: feature extraction and classification stages. In the feature extraction, instantaneous three phase voltage and current measurements are processed using discrete Fourier transform and the symmetrical components of voltage, current and the voltage times current of the second order harmonic are extracted. These nine extracted features are inputs to the second stage that is based on a machine learning algorithm called K-nearest neighbor technique (KNN). In KNN, a small part of the processed data is trained to get the predictor model that is used to the residual data to identify the islanding decision. A MATLAB simulation model is implemented to simulate the intentional and unintentional islanding events and a lab experiment is set up to make these islanding events practically. In addition, the impact of different types of distributed generation are studied to assess their impacts on the performance of the proposed methodology. Simulation and experimental results show that the proposed methodology has the ability to identify the correct islanding decision with the presence of noise with high accuracy and small detection time. In addition, the methodology has the capability to distinguish between islanding and non-islanding. The comparison with other algorithms shows a higher accuracy, dependability, security and a smallest islanding detection time. | 4 | 2 | 2021
5 | © 2019 IEEE.With the over increasing demand on the use of renewable and dependence on electronic loads, electric vehicles and energy storage devices, DC microgrid has gained more and more importance over the past few years. In this paper, we discuss some of the aspects of a DC microgrid which includes its behavior during Islanding of the utility grid. For that, a two bus system is being implemented which contains a solar photovoltaic (PV) cell on the DC subgrid. The AC and DC bus is being connected through a bidirectional AC-DC converter which allows full controllability on voltage and bidirectional power flow in both buses. A Sinusoidal pulse width modulation (SPWM) technique is being implemented which allows independent control of active and reactive power flow between the buses. Hence the AC-DC converter posses the capability of Unity power factor operation. The DC-DC buck-boost converter is being utilized to hold a steady voltage at the DC bus. A fixed voltage at the DC bus is crucial to supply consumer load at a constant voltage. This paper presents a new machine learning based islanding detection method for a two bus DC microgrid. The proposed method uses multiple features and Support Vector Machine (SVM) classification. The method uses a set of features extracted from the voltage parameter of the DC subgrid extracted from the simulation of the proposed network under various operating conditions and power imbalance. The obtained features under islanding and non-islanding event are used to train the classifier. The results thus obtained shows a high amount of accuracy in islanding detection even under minimal power imbalance. | 5 | 2 | 2019
6 | Wide-area blackouts have occurred the last decades due to severe disturbances and cascading failures. Controlled islanding of a power system is a measure for preventing blackout and limiting the effects of disturbances. Intention islanding aims to divide the network into electromechanically stable islands, which should satisfy a number of constraints such as generator coherency, generation-demand balance, system limits, and network dynamic constraints. The controlled islanding addresses the problem of finding which lines should be disconnected to create the islands. In this paper a modified algorithm of Self-Organizing Map (SOM) in combination with a Particle Swarm Optimization (PSO) algorithm is proposed in order to determine which lines should be disconnected. To evaluate the algorithm performance the method is applied to test networks. | 6 | 1 | 2014
7 | Many distribution systems nowadays have significant penetration of distributed generation (DG) and thus, islanding operation of these distribution systems is becoming a viable option for economical and technical reasons. The DG should operate optimally during both grid-connected and island conditions, which can be achieved with change in operating strategy. Many islanding detection techniques have been developed but little work has been done to detect grid re-connection. This paper presents strategies to operate DG in grid connected and islanded modes and a new grid re-connection detection algorithm, which uses average rate of change of frequency (Af5) and real power shift (RPS), in the islanded mode. RPS will increase or decrease the power set point of the generator with increasing or decreasing system frequency, respectively. Simulation results show that the proposed method can operate the DG efficiently and is effective in detecting grid-reconnection. © 2010 Elsevier B.V. All rights reserved. | 7 | 0 | 2022
8 | IEEEWith the rapid development of distributed PV systems in distribution grids, unintentional islanding is one major concern which maybe cause safety hazards. The existing passive islanding detection methods are mainly based on the voltage and frequency deviations during islanding conditions. Passive methods have relatively large non-detection zone (NDZ) and susceptible to power system faults. Active islanding detection methods applied in inverters have relatively small non-detection zone, but they are usually harmful to power quality. This paper presents a new islanding detection method based on equivalent inter-connection line impedance, which is normally a small value. A measured impedance is calculated with the synchronous phasors from two lPMUs which are installed in a utility substation and a PV system. Under the grid-connected condition, the measured impedance is no more than the equivalent line impedance. While under the islanding condition, the measured impedance is much larger than the equivalent line impedance. So, an islanding condition can be effectively detected by the comparison of the measured impedance with the equivalent line impedance. The non-detection zone of this proposed method is nearly zero. The detection time is normally less than 250ms. This method is applicable for PV systems connected to the power system with a distribution transformer. It is also applicable for a distribution grid with multiple distributed generation systems. | 8 | 0 | 2023
9 | © 2023 by the authors.Active distributed generations (ADGs) are more prevalent near consumer premises. However, the ADG penetration contribute a lot of dynamic changes in power distribution networks which cause different protection and control issues. Islanding is one of the crucial problems related to such ADGs; on the other hand, islanding detection is also a challenging aspect. Therefore, an extensive review of islanding real-time depiction and islanding detection strategies (IDS) is provided in this work. Initially, the focus is on islanding detection concept depiction, islanding detection standardization, benchmark test systems for IDS validation, and software/tools and an analysis of their pros and cons. Then, the detailed classification of IDSs is presented with an emphasis on remote and local methods. Passive, active, and hybrid can be used further to categorize local IDSs. Moreover, the statistical comparative analysis of the IDSs based on the non-detection-zone (NDZ), cost-effectiveness, and false operation are mentioned. The research gap and loopholes in the existing work based on limitations in the existing work are presented. Finally, the paper is concluded with detailed recommendations. | 9 | 0 | 2023
10 | © 2022 by the authors. Licensee MDPI, Basel, Switzerland.Detection of unintentional islanding is critical in microgrids in order to guarantee personal safety and avoid equipment damage. Most islanding detection techniques are based on monitoring and detecting abnormalities in magnitudes such as frequency, voltage, current and power. However, in normal operation, the utility grid has fluctuations in voltage and frequency, and grid codes establish that local generators must remain connected if deviations from the nominal values do not exceed the defined thresholds and ramps. This means that islanding detection methods could not detect islanding if there are fluctuations that do not exceed the grid code requirements, known as the non-detection zone (NDZ). A survey on the benefits of islanding detection techniques is provided, showing the advantages and disadvantages of each one. NDZs size of the most common passive islanding detection methods are calculated and obtained by simulation and compared with the limits obtained by ENTSO-E and islanding standards in the function of grid codes requirements in order to compare the effectiveness of different techniques and the suitability of each one. | 10 | 0 | 2022
11 | © 2022 Elsevier LtdA fast protection algorithm based on Hilbert–Huang transform (HHT) is proposed in this paper for islanding and fault detection, classification, and location in a distribution system penetrated by a solar renewable energy source. The three-phase current signals measured at the substation are utilized to extract the instantaneous features from the first level residue using Hilbert Transform (HT) after empirical mode decomposition (EMD). The feature indices computed per phase for each event using minimum post-disturbance data are then fed to a decision tree machine learning (DTML-1) model to classify disturbances into four classes: normal, fault, islanding, and switching transient. Once a fault is determined, another DTML-2 model classifies the fault into one of the seven types of faults, namely 3P-ABC (three-phase faults), 2P-AB, 2P-BC, 2P-AC (two-phase faults), 1P-AG, 1P-BG, and 1P-CG (single-phase faults). Subsequently, seven DT models based on the fault type locate the IEEE 13 bus system's zone of fault. Variations in noise levels, DG capacity, and fault incidence angles test the proposed algorithm to achieve a good accuracy level in less time. Switching transients like capacitor switching, feeder on/off, and transformer excitation/de-excitation are also successfully classified within a quarter cycle contaminated with noise levels of 20 dB SNR. | 11 | 1 | 2022
12 | © 2023, The Author(s), under exclusive license to Springer Nature Singapore Pte Ltd.The depletion of non-renewable energy sources together with advancement in the new technologies has fueled the growth of various unconventional sources of energy like wind energy, solar energy, etc., so that customer’s energy demand is met. This has popularized the distributed generations (DG) concept whose adoption has expanded as a result of market deregulation and environmental concerns. But connecting DG to grid may pose a serious problem known as islanding. When a segment of a distributed energy network becomes separated from the utility but is still energized by DGs, this is known as islanding. Thus, the capability to detect islanding is a critical necessity for connecting DG to the power distributed system. Failure to trip the DGs during islanding can cause a slew of issues for various equipment and the loads they are linked to. In order to protect itself, consumer appliances, and line personnel, a DG should disconnect within 100–300 ms after the main supply is lost. To accomplish these objectives, each DG mandatorily provided with some equipment that can detect the islanding operation of DGs. Some equipment which can achieve such results are vector surge relay, ROCOF, etc. An efficient island detection technique (IDT) should have a negligible non-detection zone (NDZ), yet the techniques discussed above have inherent non-detection zone. In this paper, two signal processing approach for islanding detection is used, namely wavelet transform and S-transform. These two approaches are explored in the paper in depth, along with their uses and implication on a DG. | 12 | 3 | 2023
13 | © 2022 IETE.In this article, a robust random under-sampling boosting (RUSB) islanding detection technique evolved from the machine learning (ML) approaches is proposed. Unlike the conventional passive islanding techniques, the ML algorithms are superior in performance owing to their better dynamic behaviour. However, a major challenge arises when non-islanding events are more as compared to islanding events. This leads to skewness in dataset resulting in improper classification, and poor accuracy are often observable. To address these issues, the proposed algorithm which relies on the under-sampling approach can easily identify the dominating cases in the available dataset such that overall detection accuracy improves with a better dynamic response. Also, the modal transformation employed at the point to measurement is a rescuer for reducing the dataset by decomposing the three-phase current signal into single-phase current signal (also known as modal current (MC) component). Therefore, the feature extraction is carried out from MC’s information by employing wavelet transformation to detect islanding conditions quickly. The extensive numerical simulations are carried out for a standard IEEE 15 bus distribution network to assess the improvement achieved in the accuracy of classification and the ability to accurately detect the islanding condition in the event of large number of non-islanding test cases with a fast dynamic response. | 13 | 3 | 2022
14 | © 2013 IEEE.Currently, research work is primarily dependent on the collection of large sets of data from systems and making predictions based on the knowledge obtained from the data, which is generally termed as 'data mining'. These data mining algorithms are of great importance in improving the performance of different applications. In this regard, Machine Learning (ML) algorithms have been demonstrated to be excellent tools to cope with difficult problems. In this paper, a classification learner based supervised ML algorithm is proposed for intentional islanding of DERs based on the live data collected from supervisory control and data acquisition (SCADA) system in post disaster situations. Literature presents various islanding detection techniques and also intentional islanding algorithms to address different problems in AC networks. These algorithms majorly work based on the control of current source or voltage source inverters. On the other hand, a low voltage DC distribution system allowing the removal of inverter is proposed, which is supposed to be more advantageous by reducing losses and is also economical when working with DERs. In this paper, ML based intentional islanding algorithm for DERs based low voltage DC distribution system is proposed by considering the effects of natural disasters. The learner models trained are fine tree, linear SVM, quadratic SVM and Gaussian SVM. The training of fine tree model is achieved with higher accuracy of 99.8%. The main objective of this work is to achieve a faster and accurate decision making. The performance of the ML based intentional islanding algorithm is compared with the earlier proposed artificial intelligence (AI) based intentional islanding algorithms. The AI algorithms proposed earlier are fuzzy inference systems (FIS), artificial neural networks (ANN) and adaptive network based fuzzy inference system (ANFIS). The comparison shows that, the decision making with ML based intentional islanding algorithm is faster and accurate than all other algorithms. | 14 | 1 | 2021
15 | © 2020, Institute of Advanced Engineering and Science. All rights reserved.This paper proposes quick & accurate islanding detection technique for a distribution system with distributed generators (DGs). Here two schemes of islanding detection based on signal processing is proposed of which one is based on discrete wavelet transform (DWT) with artificial neural network (ANN), and another one is based on S-transform with ANN. The negative sequence current/voltage signals are retrieved at targeted DG location which are used for islanding detection in the distribution system. Here, the wavelet and S-transforms are used for fault location and classification applications. Further, the feature extraction is used for reducing the size of data matrix by transforming it into set of features. In this work, particle swarm optimization (PSO) based feature selection scheme is applied. Simulation results on test system indicate the efficacy of proposed islanding detection techniques. | 15 | 3 | 2020
16 | © 2013 State Grid Electric Power Research Institute.The integration of distributed energy resources (DERs) into distribution networks is becoming increasingly important, as it supports the continued adoption of renewable power generation, combined heat and power plants, and storage systems. Nevertheless, inadvertent islanding operation is one of the major protection issues in distribution networks connected to DERs. This study proposes an intelligent islanding detection method (IIDM) using an intrinsic mode function (IMF) feature-based grey wolf optimized artificial neural network (GWO-ANN). In the proposed IIDM, the modal voltage signal is pre-processed by variational mode decomposition followed by Hilbert transform on each IMF to derive highly involved features. Then, the energy and standard deviation of IMFs are employed to train/test the GWO-ANN model for identifying the islanding operations from other non-islanding events. To evaluate the performance of the proposed IIDM, various islanding and non-islanding conditions such as faults, voltage sag, linear and nonlinear load and switching, are considered as the training and testing datasets. Moreover, the proposed IIDM is evaluated under noise conditions for the measured voltage signal. The simulation results demonstrate that the proposed IIDM is capable of differentiating between islanding and non-islanding events without any sensitivity under noise conditions in the test signal. | 16 | 1 | 2020
17 | © 2019 IEEE.With the over increasing demand on the use of renewable and dependence on electronic loads, electric vehicles and energy storage devices, DC microgrid has gained more and more importance over the past few years. In this paper, we discuss some of the aspects of a DC microgrid which includes its behavior during Islanding of the utility grid. For that, a two bus system is being implemented which contains a solar photovoltaic (PV) cell on the DC subgrid. The AC and DC bus is being connected through a bidirectional AC-DC converter which allows full controllability on voltage and bidirectional power flow in both buses. A Sinusoidal pulse width modulation (SPWM) technique is being implemented which allows independent control of active and reactive power flow between the buses. Hence the AC-DC converter posses the capability of Unity power factor operation. The DC-DC buck-boost converter is being utilized to hold a steady voltage at the DC bus. A fixed voltage at the DC bus is crucial to supply consumer load at a constant voltage. This paper presents a new machine learning based islanding detection method for a two bus DC microgrid. The proposed method uses multiple features and Support Vector Machine (SVM) classification. The method uses a set of features extracted from the voltage parameter of the DC subgrid extracted from the simulation of the proposed network under various operating conditions and power imbalance. The obtained features under islanding and non-islanding event are used to train the classifier. The results thus obtained shows a high amount of accuracy in islanding detection even under minimal power imbalance. | 17 | 2 | 2019
18 | © 2019 - IOS Press and the authors. All rights reserved.Accurate and fast islanding detection of distributed generation is extremely important for its effective operation in distribution systems. For this purpose, several islanding detection methods have been suggested. Among them, hybrid islanding detection techniques are preferred due to their minimum effects on the power system. However, hybrid islanding detection techniques also suffer from two main limitations. They still degrade the power quality and also take comparatively large time to detect the islanding phenomenon. Thus, fast detection and power quality degradation issues are still not solved by hybrid islanding detection techniques. To address this issue, this paper suggests a new islanding detection technique based on rate of change of reactive power (ROCORP) and radial basis function neural network (RBFNN). The proposed technique uses ROCORP as the RBFNN input. The appropriate database of several islanding and non-islanding events is generated by performing the offline simulations on 26 Bus Malaysian distribution system for training the RBFNN. The simulation results shows that it can detects islanding and non-islanding events very fast without degrading the power quality of the system and is independent of threshold limitations. | 18 | 1 | 2019
19 | © 2018 Elsevier B.V.This paper proposed a new method for detecting islanding of distributed generation (DG), using Multi-gene Genetic Programming (MGP). Islanding has been a serious concern among power distribution utilities and distributed generation owners, because it poses risks to the safety of utilities’ workers and consumers, and can cause damage to power distribution systems’ equipment. Therefore, a DG must be disconnected as soon as an islanding is detected. In addition, an islanding detection method must have high degree of dependability to correctly discriminate islanding from other events, such as load switching, in order to avoid unnecessary disconnection of the distributed generator. In this context, the novelty of the proposed method is that the MGP is capable of obtaining a set of mathematical and logic functions employed to detect and classify islanding correctly. This is a new approach among the computational intelligent methods proposed for DG islanding detection. The main idea was to use local voltage measurements as input of the method, eliminating the need of complex and expensive communication infrastructure. The method has been trained with several islanding and non-islanding cases, by using a power distribution system comprising five concentrated loads, a synchronous distributed generator and a wind power plant. The results showed that the proposed method was successful in differentiating the islanding events from other disturbances, revealing its great potential to be applied in anti-islanding protection schemes for distributed generation. | 19 | 0 | 2019
20 | © 2018 IEEE.In this paper, a new islanding detection strategy is presented for low-voltage (LV) microgrid consisting of voltage-sourced converter (VSC)-based including renewable/distributed energy resources (RERs/DERs). The nonlinear mapping of relation between inputs and pattern recognition capability of adaptive neuro-fuzzy inference system (ANFIS) is the key concept of this strategy. By measuring point of common coupling (PCC), seven signals including, root-mean square (RMS) of voltage (RMS(V)), current (RMS(I)), and total harmonic distortion (THD) of voltage (THD(V) and current (THD(I)), frequency (f), and also active and reactive powers (P, Q) are passively monitored thus, while this method reduces non detection zones (NDZs), it does not a power quality. Simulations performed in MATLAB/SIMULINK environment proves the effectiveness, authenticity, selectivity, accuracy and precision of the proposed method with allowable impact on PQ according to UL1741 standard. | 20 | 2 | 2018
21 | © 2018 IEEE.The techno-socio economic considerations have triggered the installation of more renewable energy sources to the grid. Most of the renewable energy systems are connected to the grid in a distributed manner. The output of the renewable energy sources like wind, solar and tidal energies are highly unpredictable in nature as the sources of energy considerably depend on natural conditions. The add of effect of such these disturbances will affect the quality of the grid and is more serious in microgrids. The fluctuating demand and the uncertainty in the generation will affect the direction of the power flow from node to node. This paper focus on a multilayer machine learning procedure for identifying dissociative behaviour of a grid at various nodes, methods to effectively schedule and predict the power flow between the nodes, thus by identify the islanding. | 21 | 2 | 2018
22 | © 2018 IET. All rights reserved.The integration of the distributed power generation into a distribution system comes with several system problems. One of the teething problems related to system protection is islanding detection. Various anti-islanding techniques based on feature evaluation were proposed in the recent past. However, they overlook the need for justifying the selection of a particular detection feature among all the possible measures. In this study, a wrapper feature selection approach is proposed where a modified multi-objective differential evolution algorithm is coupled with a kernel-based extreme learning machine classifier. To select the optimum features, five standard objective functions have been considered, such as dependability, security, accuracy, F-measure, and the number of features. About 1864 cases have been generated from the designed IEEE 13 bus system to extract the sensitive features. IEEE 1547 standards have been considered while designing and testing the IEEE 13 bus system against islanding. The selected optimal features detect the islanded condition decisively for both synchronous and inverterbased distributed generators. The features also validate their performance under noisy environment accurately with lesser computational time. | 22 | 1 | 2018
23 | © 2016 IEEE.A novel scheme for fast detection of islanding events in a microgrid is proposed in this paper. The scheme consists of a passive islanding detection process using an adaptive ensemble classifier and measurements of three-phase voltage at the distributed generation (DG) terminals. Initial features inputs to the classifier are obtained using the phase-space method. They are then used to train an ensemble classifier which comprises a set of randomized neural networks called extreme learning machine (ELM). The optimal parameter settings for each ELM are identified through evolutionary computation. An adaptive decision mechanism is designed to progressively adjust the decision time of the events classification, where its decision speed can be significantly improved over existing methods. Extensive tests are conducted on a radial distribution system with two identical DG units and the IEEE 33-bus with four DG units, considering various scenarios of islanding and non-islanding conditions, as well as the different types of DG. The simulation results show that the proposed scheme can make accurate decisions at appropriately earlier times, which achieves a good balance between efficiency and accuracy in detecting the islanding events. | 23 | 2 | 2018
24 | © 2017 IEEE.Reverse power flow is one of the anticipated implications of integrating large amount of distributed solar photovoltaic power with distribution feeders. Such an occurrence can transform into anomalies that can potentially affect the integrity of the network. Unintentional islanding is one such issue that has not been comprehensively addressed, with the consensus of all the stakeholders of distribution networks. It still remains a cause of concern among utilities, arising out of large penetration of distributed solar power. In this work, an anomalous over-current spike, attributed to reverse power flow was discovered on a radial feeder modeled with emulator hardware. Load-inverter interaction alongside grid-end disturbances in a high penetration scenario resulted into the anomaly that was found to be an islanding initiator. This paper uses suitable machine learning models to detect such occurrences so as to preemptively prepare and respond to any imminent islanding condition. Results of offline testing on a dedicated Raspberry Pi microcomputer have been presented. This paper presents a preliminary analysis of the feasibility of such a framework to be carried forward for online testing on hardware-generated data. | 24 | 2 | 2018
25 | © 2003-2012 IEEE.The main of this study is to analyze recent detection methodologies of unintentional islanding in distributed generators of electric energy. This research focus the use of Unsupervised Learning Techniques and demonstrates that the use of these methodologies can achieve a performance superior to the conventional passive method of islanding detection due to non-detection relays zones. A theoretical approach is taken on the international and national standards that prohibit the islanding occurrence, and the risk and damages due its. Next, techniques for islanding detection are discussed, and comments about advantages and disadvantages of them are presented. A Simulation of Islanding and Non-Islanding operating states in a distribution system with Distributed Generation using the Simulink software is performed. The data obtained are analyzed through data grouping techniques to identify the operating states of islanding and non-islanding with a higher set rate than the conventional passive relays. | 25 | 0 | 2018
26 | © 2018, Springer-Verlag GmbH Germany, part of Springer Nature.This paper presents an approach for islanding detection in distributed generation systems (DGs) using fast discrete s-transform (FDST) algorithm and bidirectional extreme learning machine (BELM) classifier. The system undertaken for this study comprises of two different kinds of DGs such as hydro turbine governor system and wind turbine generator. The analysis starts with extracting the non-stationary negative sequence voltage and current signals at DG end and then the instantaneous amplitude and frequency information are extracted through FDST algorithm. From this information, different distinguishing features are computed such as energy and standard deviation of amplitude to track the islanded event from different non-islanded events. The obtained features are examined through an extreme learning machine classifier to discriminate islanding and non-islanding events, under various operating conditions of distribution system. The accuracy of the proposed method is compared with other recently published techniques by various researchers to justify its improved performance for islanding detection. | 26 | 1 | 2019
27 | © 2019 IEEE.There are multiple reasons that distributed generation systems are exposed to faults and errors. Among them we can consider the most common ones being failure of the power system components or lighting strikes. Power system failure is usually caused by components failure, human error or equipment aging. The above-mentioned events affect the power system reliability and imply expensive repairs, lost of productivity and dissatisfied customers. Due to the fact that faults are unpredictable, fast fault location and isolation is necessary to minimize the impact of fault in distribution systems. Therefore, many methods have been previously developed by researchers to locate and detect these faults in distribution power systems that incorporate distributed generation. The main available methods can be split into two categories: conventional and artificial intelligence techniques. Conventional methods are composed of travelling wave method and impedance-based method while artificial intelligence techniques include Artificial Neural Network, Support Vector Machine, Fuzzy Logic, Genetic Algorithm and matching approach. However, fault detection using intelligent methods are difficult to implement due to the fact that it requires training data for processing and also are time consuming. This paper presents some of the newly introduced artificial intelligence techniques for islanding detection in distributed generation power networks. Research works in islanding detection, control algorithms, advantages and disadvantages are presented, hence the opportunities in islanding detection research area in power distribution system can be explored further. | 27 | 0 | 2019
28 | © 2019 IEEE.The escalating need for energy in the recent times is unprecedented, which is driving the penetration of renewable energy sources in distribution system in a big way. The growing number of renewable sources in a system has made the control, operation and protection of the system very complex. Among others, one of the key issues in seamless interconnection of renewable energy sources to a system is islanding. This paper proposes a new and efficient islanding detection method that employs transfer learning based technique. The results show that the proposed method can successfully classify islanding events with a good accuracy. | 28 | 2 | 2019
29 | © 2018 IEEE.Given the progressively deeper integration of distributed energy resources (DERs), evaluating the potential unintentional islanding hazards in distribution networks becomes increasingly important for distribution system planning and operations. In this paper, a rigorous theoretical analysis is used to devise a DER-driven nondetection zone (D2NDZ) method, which is then implemented through a data-driven learning-based approach. Test results indicate that D2NDZ can quickly and effectively estimate the nondetection zones for any given distribution feeders, while avoiding numerous and time-consuming electromagnetic transient simulations. D2NDZ software has been deployed in Eversource Energy, a major power utility company in the northeastern U.S. In practice, D2NDZ reduces utilities engineers' case study time from months to just a few minutes. | 29 | 0 | 2019
30 | © 2018 IEEE.The increasing need for energy in the recent times is unprecedented, which is driving the penetration of renewable sources in distribution system in a big way. The increasing number of renewable sources in a system has made the operation, control and protection of the system very complex. One of the key issues in seamless interconnection of renewable energy sources to a system is islanding. This paper proposes a new method to detect islanding in an efficient way by employing transfer learning based technique for image classification. The results show that the proposed method can successfully classify islanding events with a good accuracy. | 30 | 2 | 2018
31 | © 2018 IEEE.The main of this study is to analyze recent detection methodologies of unintentional islanding in distributed generation of electric energy. This research focuses the use of supervised Learning Techniques and demonstrates that the use of these methodologies can achieve a performance superior to the conventional passive methods of islanding detection due to nondetection relays zones. A theoretical approach is taken on the international and national standards that prohibit the islanding occurrence, and the risk and damages due to this. Next, techniques for islanding detection are discussed, and comments about advantages and disadvantages of them are presented. A Simulation of Islanding and Non-Islanding operating states in a distribution system with Distributed Generation using the Simulink software is performed. The data obtained with this simulation is used to train an Artificial Neural Network (ANN or RNA) and make this grid able to identify the real system operating state. | 31 | 0 | 2018
32 | © 2016 IEEE.Impacts of unintentional islanding will be more pronounced in the scenario of rising distributed-generation penetration especially on distribution grids. Solar photo voltaic generation is the forerunner technology whose grid-integration is increasing significantly. This paper explores unique anomalies occurring in a solar photo voltaic system integrated with a distribution network that can potentially cause unintentional islanding and applies statistical and machine learning techniques to identify them in real time. Grid-side disturbances and complete power-balance between the inverter and loads are the conditions deemed to occur frequently in a high penetration case. These have been simulated on a modified IEEE feeder and the resulting anomalies cross-verified in emulation and real-time simulation. Multivariate statistical techniques and a support vector classifier have been applied to identify the explored anomalous currents. The classification results show promising application towards a new predictive islanding detection logic inside solar inverters however the actual relay delay in tripping a breaker and the inverter's capability to trip before it on sensing a potential precursor to accidental islanding needs to be tested in real time. | 32 | 2 | 2016
33 | © 2016 The Institution of Engineering and Technology.Islanding detection is important for the protection of any distribution system connected to distributed energy resources (DER's). This study proposes an intelligent islanding detection technique based on artificial neural network (ANN) that employs minimal features from the power system. The accuracy of the trained ANN is improved by optimising the learning rate, momentum and number of neurons in the hidden layers using evolutionary programming (EP) and particle swarm optimisation (PSO). The performance comparison between stand-alone ANN, ANN-EP and ANN-PSO in the form of regression value is performed to obtain the best feature combination for an efficient islanding detection. The proposed technique is tested on- A nd off-line for various islanding and non-islanding events. The simulation results indicate that the proposed technique can successfully distinguish islanding from other non-islanding events such as load variation, capacitor switching, faults, induction motor starting and DER tripping. | 33 | 1 | 2016
34 | © 2017 IEEE.There is a worldwide trend towards the integration of renewable energy in the form of distributed generation, leading to the formation of microgrids. Connection of these sources introduces new issues in the operation and management of distribution systems. An important issue is that of islanding, where the microgrid remains energized locally while isolated from the main grid. It is important to detect this islanding event quickly and accurately in order to prevent possible damage to the DG and load that remains connected to the DG side after islanding. This paper explores the problem of timely islanding detection by machine learning techniques. Several cases of islanding and non-islanding are simulated on the IEEE-13 bus distribution system. Different types of DGs are connected to the system and disturbances are introduced. We consider the use of the voltage, frequency and their rate of changes at the Point of Common Coupling (PCC) as features for event detection using classifiers. These features are extracted from the simulation results and used to train and test several types of classifiers. It is shown that the random forest classifier detects the islanding with a high level of accuracy and within a reasonable amount of time after the occurrence of the disturbance. | 34 | 2 | 2017
35 | © TUBITAK.In this paper, a new method based on artificial neural network (ANN) and discrete wavelet transform (DWT) is proposed for electrical islanding detection. Transient signals produced during an event are used in the proposed method. ANN is trained to classify the transient events as islanding and nonislanding. The required features for classifying are extracted through DWT of voltage and current transient signals. The proposed method is then simulated on a medium voltage distribution system of CIGRE with 2 kinds of DGs. Results show that this method can detect electrical islands more rapidly and accurately. | 35 | 3 | 2015
36 | This paper presents a new approach based on wavelet design and machine learning applied to passive islanding detection of distributed generation. Procrustes analysis is used to determine the filter coefficients of a newly designed wavelet. To automate the classification process, machine learning algorithms are used to develop appropriate models. The IEEE 13-bus standard test distribution system simulated in PSCAD/EMTDC is used as a test bed to assess the performance of the proposed approach. The numerical results demonstrating the effectiveness of the proposed approach are discussed and conclusions are drawn. © 2014 IEEE. | 36 | 3 | 2014
37 | Distributed generation (DG) has recently drawn the interest to meet the increased load demand with minimum investment. But cohesive operation of these DG sources, in a grid-connected environment, gives rise to several issues during abnormal conditions of the utility system. This paper addresses the detection method of one such crucial event which is islanding. A short length window based Mahalanobis Distance method has been proposed in this paper to detect islanding. A trade-off between computational time and accuracy has been maintained to make it reliable and acceptable. In this method, network parameters such as rate of change of frequency (ROCOF), rate of change of voltage (ROCOV), rate of change of real power (ROCOP) and rate of change of reactive power (ROCOQ) have been extracted from the voltage and current signal. Standard Deviations of the network features have been used as parameters for islanding and non-islanding events. These parameters have been classified with the proposed Mahalanobis Distance method incorporating short length window. The proposed method has been simulated in a test distribution system and it has been compared with Support Vector Machine (SVM), and Feed-forward Multi-layer Neural Network (FFML NN) classifiers to show its reliability and acceptability. © 2012 IEEE. | 37 | 1 | 2012
38 | In this paper; four islanding detection techniques for inverter-based distributed generator (DG) are presented. The techniques are: decision tree (DT), support vector machine (SVM), radial basis function network (RBF), and probabilistic neural network (PNN). In literature, these techniques were proposed as islanding detection methods. However, the proposed techniques face various limitations such as the size and type of the used distribution network and the limitation of the extracted features. This paper overcomes these limitations and gives a very accurate comparison between these techniques by extracting seven features from damped-sinusoid model of the voltage and frequency waveforms using the MATLAB/SIMULINK and also using the IEEE 34-bus distribution system. The results show that out of the four tested techniques, PNN technique can accurately detect islanding for inverter based DG. © 2012 IEEE. | 38 | 1 | 2012
39 | Detection of intentional and unintentional islanding of distributed generation units is one of the major protection issues of the distribution networks. Regarding the safety and reliable operation of a modern distribution network, an expert diagnosis apparatus is required to distinguish network cut off from variety of normal occurrences. Automatic load-frequency controller (ALFC) is an indispensable component of the synchronous generators. Simulation results show that input signal of the governor includes somewhat singular characteristics for each possible phenomenon or disturbance. Therefore, a new method based on Self-Organizing Map (SOM) neural network is proposed using input signal to the governor to cluster various occurrences into islanding and non-islanding categories. Simulation results presented in this paper shows that the input signal of the governor employed by a SOM can cluster a majority of occurrences of the system and distinguishes the islanding phenomenon with high confidence. © 2010 Elsevier B.V. All rights reserved. | 39 | 1 | 2011
40 | Connecting distributed generators to the normal radial distribution system improve the power quality and increase the capacity of the electric grid. However, they disturb the radial nature of the network and thus give rise to many problems. Unintentional islanding is one of the encountered problems. In this paper a neuro-wavelet islanding detection technique has been developed. The method is based on the transient voltage signals generated during the islanding event. Discrete wavelet transform is adopted to extract feature vectors which will then be fed to a trained artificial neural network classifier to classify the transients generated as islanding or non-islanding events. The trained classifier was then tested using novel voltage signals. The test results indicate that this approach can detect islanding events with a good degree of accuracy. ©2010 IEEE. | 40 | 3 | 2010
41 | The integration of distributed generation in conventional radial distribution system provides improvement in power quality and enhancement in the power supply capacity. However, this integration changes the nature of distribution system from passive to active and has given rise to certain technical issues. The occurrence of islanding is one of the important issues in this context. This paper presents a new islanding detection technique based on artificial neural network. The proposed technique uses rate of change of frequency, rate of change of voltage, rate of change of active power, and rate of change of reactive power as the ANN inputs. The appropriate data base of various islanding and non islanding cases is created for training the ANN. The ANN test results ensure that proposed method is able to classify accurately islanding and non islanding events and has zero non detection zone. | 41 | 1 | 2014